## Contents
Electricity market modelling results summary
Published 22nd Februray 2021
•This workbook presents a summary of results from electricity market modelling of electrification scenarios. The results were obtained used Energy Link's E-Market and I-Gen models. The purpose of the modelling was to complement our main modelling tool ENZ. •This was an insight gaining exercise. There are limitations to this modelling piece and inherit uncertainties. Care should be taken in interpretation of the modelled results, particularly regarding long to term prices. •There are short term market dynamics which are not reflected in this modelling. For example market prices are currently being impacted by low hydro storage and high gas prices (as of February 2021) – these dynamics are not reflected in these results. •This modelling exercise was completed in November 2020. Since this time the electrification scenarios developed in ENZ and presented in the 2021 Draft Advice and Evidence Reports have been further refined. The scenarios shown in this document bound the final scenarios shown in the advice report, but they are not exactly equivalent. •The wholesale pricing result for the ‘Central Pathway’ shown in the 2021 Draft Advice Report is the modelled Tailwinds scenario shown here. The electrification scenarios are very similar and this is a valid approximation considering model accuracy and uncertainty. •All prices are in 2020 real NZDs.
Inputs/assumptions |  | Scenario structure
Costs
Generation stack
Demand profiles
Results
Headwinds scenario
Tailwinds scenario
Demand profiles
Gas price step
Low carbon sensitivity
Pumped storage scheme sensitivity
Summary
Generation build
Charts used in draft 2021 Advice and Evidence reports

## Costs
| ETS price ($/TCO2) |  | Gas price ($/GJ)
| Central path | Low C sensitivity | Central | Gas step
2020 | 30 | 30 | 8.5678 | 8.5678
2021 | 37 | 33.5 | 8.5678 | 8.5678
2022 | 44 | 37 | 8.5678 | 8.5678
2023 | 51 | 40.5 | 8.5678 | 8.5678
2024 | 58 | 44 | 8.5678 | 8.5678
2025 | 65 | 47.5 | 8.5678 | 8.5678
2026 | 72 | 51 | 8.5678 | 8.5678
2027 | 79 | 54.5 | 8.5678 | 8.5678
2028 | 86 | 58 | 8.5678 | 8.5678
2029 | 93 | 61.5 | 8.65 | 14
2030 | 100 | 65 | 9.6 | 14
2031 | 107.5 | 68 | 9.6 | 14
2032 | 115 | 71 | 9.6 | 14
2033 | 122.5 | 74 | 9.6 | 14
2034 | 130 | 77 | 9.6 | 14
2035 | 137.5 | 80 | 9.6 | 14
2036 | 145 | 83 | 9.6 | 14
2037 | 152.5 | 86 | 9.6 | 14
2038 | 160 | 89 | 9.6 | 14
2039 | 167.5 | 92 | 9.6 | 14
2040 | 175 | 95 | 9.6 | 14
2041 | 182.5 | 98 | 9.6 | 14
2042 | 190 | 101 | 9.6 | 14
2043 | 197.5 | 104 | 9.6 | 14
2044 | 205 | 107 | 9.6 | 14
2045 | 212.5 | 110 | 9.6 | 14
2046 | 220 | 113 | 9.6 | 14
2047 | 227.5 | 116 | 9.6 | 14
2048 | 235 | 119 | 9.6 | 14
2049 | 242.5 | 122 | 9.6 | 14
2050 | 250 | 125 | 9.6 | 14

## Generation stack
Project Name | Capacity (MW) | Average annual generation (GWh)
Awhitu_Wind_Farm | 18 | 59.9184
Kaiwera_Downs_Stage_1 | 36 | 127.4054
Kaiwera_Downs_Stage_2 | 84 | 297.2794
Kaiwera_Downs_Stage_3 | 120 | 424.6848
Mahinerangi_WindFarm_Stage_2 | 160 | 507.3792
Wairau_River_Scheme | 70.5 | 347.6975
Waipipi | 130 | 483.99
Omamari_WindFarm | 72 | 245.9808
Central_Wind_Moawhango | 120 | 414.1728
Hurunui_Wind | 71.3 | 251.0844
Harupaki_Wind | 170 | 615.0396
Mohaka_River | 44 | 211.992
Mt_Munro | 60 | 220.752
North_Bank_Tunnel_Waitaki | 260 | 1423.5
Pouto_Stage1 | 100 | 354.342
Pouto_Stage2 | 100 | 354.342
Pouto_Stage3 | 100 | 354.342
Pukaki_Hydro | 35 | 174.762
Kawerau_Stage_2 | 100 | 805.92
Kawerau_Stage_3 | 100 | 805.92
Long_Gully_Wind_farm | 12.5 | 47.961
Ngatamariki_Stage2 | 30 | 241.776
Puketoi_Stage_1 | 60 | 220.752
Puketoi_Stage_2 | 130 | 478.296
Puketoi_Stage_3 | 130 | 478.296
Turitea_Stage_1 | 119 | 448.2492
Turitea_Stage_2 | 103 | 387.9804
Waipa_River | 7 | 33.726
Castle_Hill_Stage_1 | 54 | 187.7969
Castle_Hill_Stage_2 | 100 | 347.772
Castle_Hill_Stage_3 | 100 | 347.772
Castle_Hill_Stage_4 | 200 | 695.544
Huntly_Peaker | 200 | 175.2
Slopedown_Wind_farm | 100 | 353.904
Hawea_Gates | 17 | 81.906
Luggate_Clutha | 86 | 499.4777
Tauhara_Stage_2 | 150 | 1274.58
Tauhara_Stage_2a | 80 | 679.776
Waitahora_Wind | 177 | 615.5564
Hauauru_ma_raki_Wind_Stage_1 | 154 | 532.8708
Kaimai_Wind_Farm | 100 | 354.78
Lake_Coleridge | 70 | 337.26
Matiri | 4.6 | 22.1628
Mokai_Expansion | 112 | 902.6304
Mt_Cass_Wind_Farm | 93 | 327.5014
Ngawha_Expansion2 | 25 | 201.48
Ngawha_Expansion3 | 25 | 201.48
Rangitata_Diverson_canal_RDR | 6 | 28.908
Rotoma | 35 | 282.072
Stockton_Plateau | 25 | 120.45
Taharoa_C | 54 | 186.8508
Taumatatotara | 44 | 146.4672
Te_Rere_Hau_Stage_5 | 28 | 83.3952
Tikitere | 45 | 362.664
Wainui_Hills_Wind_Farm | 30 | 107.748
Wairakei_Binary_Plant | 60 | 483.552
Waitaha_River | 20 | 96.36
Ahipara_Wind_Farm | 100 | 341.64
Otorohanga_Peaker_Stage1 | 120 | 105.12
Otorohanga_Peaker_Stage2 | 120 | 105.12
Otorohanga_Peaker_Stage3 | 120 | 105.12
RefiningNZ_Solar | 26 | 38.7192
Genesis_Solar | 300 | 551.88
ReservePeaker1 | 150 | 131.4
ReservePeaker2 | 150 | 131.4
Wind_Project_NI_1 | 200 | 708.684
Wind_Project_NI_2 | 200 | 692.04
Wind_Project_NI_3 | 125 | 454.425
Wind_Project_NI_4 | 200 | 708.684
Wind_Project_NI_5 | 200 | 692.04
Wind_Project_NI_6 | 200 | 695.544
Wind_Project_NI_7 | 200 | 665.76
Wind_Project_NI_8 | 125 | 443.475
Wind_Project_SI_1 | 200 | 707.808
Wind_Project_SI_2 | 200 | 704.304
Wind_Project_SI_3 | 125 | 416.1
Wind_Project_SI_4 | 200 | 648.24
GeoProject_1 | 50 | 402.96
GeoProject_2 | 100 | 805.92
GeoProject_3 | 100 | 805.92
GeoProject_4 | 100 | 805.92
Solar_Project_NI_1 | 200 | 402.96
Solar_Project_NI_2 | 200 | 385.44
Solar_Project_NI_3 | 150 | 302.22
Solar_Project_NI_4 | 150 | 302.22
Solar_Project_NI_5 | 100 | 192.72
Solar_Project_NI_6 | 100 | 192.72
Solar_Project_SI_1 | 200 | 385.44
Solar_Project_SI_2 | 100 | 192.72
Solar_Project_SI_3 | 200 | 385.44
Wind_Project_NI_9 | 200 | 700.8
Total | 9947.9 | 36166.3617

## Demand
Headwinds | [5 empty] | Tailwinds
Scenario ID | Res_202010071338 Headwinds |  |  |  |  | Scenario ID | Res_202011051334 Tailwinds
Year | Base year demand (GWh) | Tiwai (GWh) | EVs (GWh) | Other (GWh) | Total demand (GWh) | Year | Base year demand (GWh) | Tiwai (GWh) | EVs (GWh) | Other (GWh) | Total demand (GWh)
2019 | 39953 | 0 | 0 |  | 39953 | 2019 | 39953 | 0 | 0 | 0 | 39953
2020 |  | -253.8888 | 18.0733 | 210.963 | 39928.1475 | 2020 |  | -253.8888 | 17.6806 | 200.8782 | 39917.67
2021 |  | -253.8888 | 37.5493 | 416.7628 | 40153.4232 | 2021 |  | -253.8888 | 38.6815 | 419.537 | 40157.3297
2022 |  | -253.8888 | 60.1945 | 656.697 | 40416.0028 | 2022 |  | -253.8888 | 65.4758 | 641.4397 | 40406.0266
2023 |  | -253.8888 | 86.1755 | 892.1956 | 40677.4823 | 2023 |  | -253.8888 | 100.077 | 859.1934 | 40658.3815
2024 |  | -983.8888 | 126.7355 | 1127.7947 | 40223.6414 | 2024 |  | -983.8888 | 165.8714 | 1098.0742 | 40233.0568
2025 |  | -2735.8888 | 180.6649 | 1367.8528 | 38765.6289 | 2025 |  | -2735.8888 | 276.0392 | 1373.0794 | 38866.2298
2026 |  | -4378.3888 | 251.4022 | 1611.5483 | 37437.5617 | 2026 |  | -4378.3888 | 449.4224 | 1683.2771 | 37707.3106
2027 |  | -5247.0888 | 345.7161 | 1853.4329 | 36905.0602 | 2027 |  | -5247.0888 | 727.447 | 1972.0241 | 37405.3823
2028 |  | -5247.0888 | 467.3185 | 2126.1125 | 37299.3422 | 2028 |  | -5247.0888 | 1174.1249 | 2308.3341 | 38188.3702
2029 |  | -5247.0888 | 622.5128 | 2407.8091 | 37736.2331 | 2029 |  | -5247.0888 | 1771.6997 | 2643.5015 | 39121.1123
2030 |  | -5247.0888 | 819.8391 | 2743.7949 | 38269.5452 | 2030 |  | -5247.0888 | 2491.3467 | 3022.5715 | 40219.8295
2031 |  | -5247.0888 | 1068.0118 | 3158.1488 | 38932.0718 | 2031 |  | -5247.0888 | 3242.6498 | 3524.828 | 41473.389
2032 |  | -5247.0888 | 1397.8331 | 3523.1528 | 39626.897 | 2032 |  | -5247.0888 | 4013.7488 | 4057.4129 | 42777.0729
2033 |  | -5247.0888 | 1815.3197 | 3900.8887 | 40422.1196 | 2033 |  | -5247.0888 | 4811.4308 | 4589.2524 | 44106.5944
2034 |  | -5247.0888 | 2356.4712 | 4329.0911 | 41391.4735 | 2034 |  | -5247.0888 | 5647.8966 | 5126.1236 | 45479.9314
2035 |  | -5247.0888 | 3020.9397 | 4711.1926 | 42438.0435 | 2035 |  | -5247.0888 | 6459.888 | 5606.9249 | 46772.7241
2036 |  | -5247.0888 | 3807.0667 | 5122.7259 | 43635.7038 | 2036 |  | -5247.0888 | 7254.0634 | 6140.4772 | 48100.4518
2037 |  | -5247.0888 | 4671.6364 | 5559.4946 | 44937.0422 | 2037 |  | -5247.0888 | 8013.5731 | 6667.1731 | 49386.6573
2038 |  | -5247.0888 | 5562.0255 | 6005.4115 | 46273.3482 | 2038 |  | -5247.0888 | 8697.0226 | 7183.449 | 50586.3829
2039 |  | -5247.0888 | 6468.7092 | 6455.9913 | 47630.6117 | 2039 |  | -5247.0888 | 9318.2408 | 7697.1823 | 51721.3343
2040 |  | -5247.0888 | 7398.6377 | 6858.135 | 48962.6839 | 2040 |  | -5247.0888 | 9929.9479 | 9192.33 | 53828.1891
2041 |  | -5247.0888 | 8325.9328 | 7411.4076 | 50443.2516 | 2041 |  | -5247.0888 | 10522.4027 | 9817.4255 | 55045.7395
2042 |  | -5247.0888 | 9223.2069 | 7984.9123 | 51914.0304 | 2042 |  | -5247.0888 | 11059.2544 | 10465.817 | 56230.9826
2043 |  | -5247.0888 | 10055.5436 | 8625.727 | 53387.1818 | 2043 |  | -5247.0888 | 11516.9022 | 11064.2398 | 57287.0532
2044 |  | -5247.0888 | 10830.2529 | 9150.1802 | 54686.3442 | 2044 |  | -5247.0888 | 11932.5317 | 11869.1646 | 58507.6075
2045 |  | -5247.0888 | 11567.3183 | 9788.4965 | 56061.726 | 2045 |  | -5247.0888 | 12344.4754 | 12751.6343 | 59802.0209
2046 |  | -5247.0888 | 12245.051 | 10595.0022 | 57545.9644 | 2046 |  | -5247.0888 | 12684.82 | 13633.2916 | 61024.0228
2047 |  | -5247.0888 | 12852.5877 | 11328.7765 | 58887.2754 | 2047 |  | -5247.0888 | 12935.6831 | 14513.8162 | 62155.4105
2048 |  | -5247.0888 | 13390.5081 | 12001.9833 | 60098.4026 | 2048 |  | -5247.0888 | 13107.7231 | 15390.6982 | 63204.3325
2049 |  | -5247.0888 | 13857.6828 | 12693.4746 | 61257.0685 | 2049 |  | -5247.0888 | 13242.5271 | 16112.987 | 64061.4253
2050 |  | -5247.0888 | 14252.6991 | 13333.278 | 62291.8884 | 2050 |  | -5247.0888 | 13357.6952 | 16863.2917 | 64926.8981

## Headwinds
Run name | IGEN_Model_3.9_CCC_Scenario1_Step12_AltSolar
Results shown are the average across all simulated hydro years
| Generation by type (GWh) | [9 empty] | Renewable % | Installed capacity (MW) | [8 empty] | Generation emissions (Mt) | [5 empty] | Emission intensity of generation (gCO2/kWh) | Market price ($/MWh)
| Home Solar | Geothermal | Hydro | Wind | Solar (utility) | Coal (HLY 8%) | Diesel | Gas | Cogen | Total | Excl cogen | Geothermal | Hydro | Wind | Solar (utility) | Coal | Diesel | Gas | Cogen | Total | Gas | Diesel | Coal | Geothermal | Cogen | Total (excl cogen) | Total (incl cogen) | Haywards
2021 | 25.8668 | 8109.7051 | 23988.133 | 2941.7135 | 0 | 593.4555 | 0 | 4660.1806 | 1243.8111 | 41562.8657 | 86.97% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.8641 | 0 | 0.5103 | 0.80041 | 0.88473 | 3.1748 | 97.673 | 93.9293
2022 | 77.5861 | 8007.0789 | 24263.3074 | 3447.4428 | 0 | 394.5819 | 0.015446 | 4436.1023 | 1222.3182 | 41848.4329 | 88.11% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.7683 | 1.1715e-05 | 0.3393 | 0.79994 | 0.87035 | 2.9076 | 90.2771 | 89.4938
2023 | 135.9919 | 8018.7435 | 24535.4488 | 3622.2575 | 0 | 283.7952 | 0.051218 | 4306.9409 | 1222.2312 | 42125.4603 | 88.78% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.7133 | 3.8846e-05 | 0.24403 | 0.79427 | 0.87029 | 2.7516 | 85.981 | 88.3276
2024 | 200.2462 | 9297.307 | 24073.9036 | 3520.2125 | 0 | 96.0481 | 0 | 3354.2233 | 1224.8726 | 41766.8133 | 91.49% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 9011.3 | 1.316 | 0 | 0.08259 | 0.91674 | 0.87213 | 2.3153 | 76.3161 | 72.894
2025 | 273.9625 | 9265.4841 | 24312.5694 | 3491.1882 | 0 | 103.8659 | 0.055047 | 1749.0052 | 1221.7193 | 40417.8496 | 95.27% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.70301 | 4.1751e-05 | 0.089313 | 0.91274 | 0.86991 | 1.7051 | 63.7112 | 70.2812
2026 | 354.9656 | 9265.0924 | 23922.7436 | 3342.8366 | 0 | 44.16 | 0.20902 | 1155.7506 | 1222.2458 | 39308.0037 | 96.85% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.45885 | 0.00015853 | 0.037973 | 0.91268 | 0.87033 | 1.4097 | 58.0047 | 56.8089
2027 | 442.5585 | 9264.8769 | 23702.0497 | 3277.9652 | 0 | 0 | 0.2396 | 997.6699 | 1222.1907 | 38907.5505 | 97.35% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.39691 | 0.00018172 | 0 | 0.91264 | 0.87026 | 1.3097 | 56.0315 | 53.2558
2028 | 538.6615 | 9290.2057 | 23822.0321 | 3344.8673 | 0 | 0 | 0.44357 | 1174.7873 | 1225.8296 | 39396.827 | 96.92% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.46787 | 0.00033643 | 0 | 0.91513 | 0.87288 | 1.3833 | 57.2703 | 59.5312
2029 | 634.4601 | 9266.1567 | 23847.6869 | 3399.6472 | 0 | 0 | 0.28359 | 1361.4474 | 1221.9789 | 39731.6607 | 96.46% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.54495 | 0.00021509 | 0 | 0.91304 | 0.87006 | 1.4582 | 58.6011 | 67.0492
2030 | 736.3716 | 9271.2548 | 24025.5642 | 3491.8017 | 0 | 0 | 0.23394 | 1526.9245 | 1221.4269 | 40273.5776 | 96.09% | 1144 | 5153.3 | 760 | 0 | 0 | 155 | 843 | 261 | 8316.3 | 0.61168 | 0.00017743 | 0 | 0.91417 | 0.86966 | 1.526 | 59.4865 | 76.4448
2031 | 843.4165 | 9265.3832 | 23863.5855 | 4059.419 | 249.5926 | 0 | 0.18345 | 1396.5647 | 1221.7142 | 40899.859 | 96.48% | 1144 | 5153.3 | 820 | 200 | 0 | 155 | 843 | 261 | 8576.3 | 0.55897 | 0.00013914 | 0 | 0.91273 | 0.86991 | 1.4718 | 57.2565 | 75.2757
2032 | 961.0134 | 9290.0784 | 23928.3694 | 4584.0426 | 367.8274 | 0 | 0.24862 | 1318.5503 | 1225.6481 | 41675.7782 | 96.74% | 1144 | 5153.3 | 1020 | 200 | 0 | 155 | 843 | 261 | 8776.3 | 0.52801 | 0.00018857 | 0 | 0.915 | 0.87275 | 1.4432 | 55.5718 | 74.3911
2033 | 1068.2695 | 9265.0061 | 23841.3905 | 5073.8598 | 575.5062 | 0 | 0.45823 | 1287.1563 | 1222.3163 | 42333.9628 | 96.87% | 1144 | 5153.3 | 1150 | 400 | 0 | 155 | 843 | 261 | 9106.3 | 0.51511 | 0.00034754 | 0 | 0.91272 | 0.87035 | 1.4282 | 54.296 | 74.9254
2034 | 1181.6808 | 9265.065 | 23749.7024 | 5851.0618 | 816.1023 | 0 | 0.9269 | 1159.4623 | 1222.2304 | 43246.2319 | 97.24% | 1144 | 5153.3 | 1422 | 500 | 0 | 155 | 843 | 261 | 9478.3 | 0.46305 | 0.00070301 | 0 | 0.91279 | 0.87029 | 1.3765 | 51.9549 | 71.5996
2035 | 1298.4393 | 9264.0395 | 23647.795 | 6698.47 | 924.3889 | 0 | 9.359 | 1217.7159 | 1221.9494 | 44282.1569 | 97.15% | 1144 | 5153.3 | 1652 | 500 | 0 | 155 | 843 | 261 | 9708.3 | 0.48936 | 0.0070983 | 0 | 0.91293 | 0.87003 | 1.4094 | 51.4686 | 76.3494
2036 | 1423.8301 | 9295.801 | 23662.254 | 7730.0882 | 1048.2921 | 0 | 1.0107 | 1203.2493 | 1225.1918 | 45589.7171 | 97.29% | 1144 | 5153.3 | 1873.8 | 950 | 0 | 155 | 1043 | 261 | 10580.1 | 0.48353 | 0.00076654 | 0 | 0.91644 | 0.8724 | 1.4007 | 49.8611 | 76.0214
2037 | 1535.6176 | 9263.7839 | 23470.2892 | 8824.1787 | 1742.8304 | 0 | 5.2565 | 639.2394 | 1222.2525 | 46703.4482 | 98.58% | 1144 | 5153.3 | 2365.8 | 950 | 0 | 155 | 648 | 261 | 10677.1 | 0.30025 | 0.0039868 | 0 | 0.91255 | 0.87034 | 1.2168 | 44.6876 | 89.1539
2038 | 1655.7191 | 9261.6819 | 23232.7432 | 10150.92 | 2040.9543 | 0 | 5.7774 | 495.2469 | 1222.1516 | 48065.1945 | 98.93% | 1144 | 5153.3 | 2642.8 | 1200 | 0 | 155 | 768 | 261 | 11324.1 | 0.23264 | 0.0043819 | 0 | 0.91234 | 0.87025 | 1.1494 | 42.0202 | 78.9882
2039 | 1775.86 | 9256.595 | 23220.7486 | 11166.0356 | 2172.904 | 0 | 5.6593 | 676.5179 | 1222.318 | 49496.6384 | 98.59% | 1144 | 5153.3 | 3067.8 | 1200 | 0 | 155 | 918 | 261 | 11899.1 | 0.3072 | 0.0042923 | 0 | 0.91184 | 0.87035 | 1.2233 | 42.3018 | 75.1039
2040 | 1906.5711 | 9553.8748 | 23295.5819 | 11998.4999 | 2326.9921 | 0 | 3.7977 | 710.6096 | 1225.5851 | 51021.5123 | 98.57% | 1204 | 5153.3 | 3311.8 | 1300 | 0 | 155 | 1038 | 261 | 12423.1 | 0.28745 | 0.0028803 | 0 | 0.92205 | 0.87266 | 1.2124 | 40.8694 | 84.335
2041 | 2019.3471 | 9727.0071 | 23272.3987 | 13062.7216 | 2377.5782 | 0 | 3.8013 | 726.941 | 1221.4289 | 52411.2239 | 98.57% | 1204 | 5153.3 | 3571.8 | 1500 | 0 | 155 | 1038 | 261 | 12883.1 | 0.30202 | 0.0028831 | 0 | 0.92667 | 0.86966 | 1.2316 | 40.0948 | 86.332
2042 | 2142.9657 | 9704.625 | 23109.6518 | 14252.0138 | 2710.2774 | 0 | 2.7368 | 767.6691 | 1221.7193 | 53911.6589 | 98.54% | 1204 | 5153.3 | 3971.8 | 1500 | 0 | 155 | 1158 | 261 | 13403.1 | 0.32118 | 0.0020757 | 0 | 0.92349 | 0.86991 | 1.2467 | 39.2685 | 85.4337
2043 | 2267.621 | 10339.7282 | 23238.5658 | 14803.7551 | 2694.8959 | 0 | 4.4475 | 881.0082 | 1222.1763 | 55452.1981 | 98.37% | 1396 | 5153.3 | 3971.8 | 1500 | 0 | 155 | 1158 | 261 | 13595.1 | 0.36811 | 0.0033732 | 0 | 0.96864 | 0.87027 | 1.3401 | 39.8669 | 93.6408
2044 | 2405.0023 | 11289.9225 | 23082.442 | 15175.2599 | 2969.296 | 0 | 5.3496 | 777.6087 | 1225.8026 | 56930.6836 | 98.59% | 1396 | 5153.3 | 4132.8 | 1700 | 0 | 155 | 1158 | 261 | 13956.1 | 0.3237 | 0.0040574 | 0 | 1.048 | 0.87286 | 1.3758 | 39.5027 | 88.6979
2045 | 2518.1643 | 11229.9149 | 22949.1999 | 16406.7672 | 3028.1654 | 0 | 6.81 | 872.7653 | 1222.2281 | 58234.015 | 98.46% | 1396 | 5153.3 | 4641.8 | 1700 | 0 | 155 | 1308 | 261 | 14615.1 | 0.35007 | 0.005165 | 0 | 1.0424 | 0.87029 | 1.3976 | 38.9475 | 92.0144
2046 | 2644.8075 | 11279.0554 | 23016.3238 | 17583.7172 | 3013.0277 | 0 | 7.7916 | 1050.5621 | 1221.9368 | 59817.222 | 98.19% | 1446 | 5153.3 | 4961.8 | 1700 | 0 | 155 | 1308 | 261 | 14985.1 | 0.39196 | 0.0059095 | 0 | 1.0404 | 0.87003 | 1.4382 | 38.5946 | 100.452
2047 | 2772.5589 | 11605.2144 | 22916.5046 | 18648.2381 | 2997.3706 | 0 | 9.3422 | 1090.9951 | 1221.4162 | 61261.6401 | 98.17% | 1446 | 5153.3 | 5321.8 | 1700 | 0 | 155 | 1308 | 261 | 15345.1 | 0.40621 | 0.0070856 | 0 | 1.0398 | 0.86965 | 1.4531 | 37.9201 | 102.0386
2048 | 2916.237 | 12210.4416 | 22955.717 | 19208.5421 | 3013.2646 | 0 | 9.7453 | 1158.916 | 1225.7051 | 62698.5688 | 98.1% | 1546 | 5178.3 | 5349.8 | 1726 | 0 | 155 | 1308 | 261 | 15524.1 | 0.4314 | 0.0073914 | 0 | 1.0406 | 0.87283 | 1.4794 | 37.5199 | 106.2827
2049 | 3030.32 | 12442.9489 | 23006.9146 | 19736.999 | 3004.7265 | 0 | 12.788 | 1177.5634 | 1222.2614 | 63634.5217 | 98.09% | 1646 | 5248.8 | 5549.8 | 1726 | 0 | 155 | 1308 | 261 | 15894.6 | 0.43556 | 0.009699 | 0 | 1.0381 | 0.87033 | 1.4833 | 36.9845 | 107.0371
2050 | 3159.5782 | 13097.4112 | 23271.4767 | 19573.658 | 2978.3262 | 0 | 25.2184 | 1359.5014 | 1221.8092 | 64686.9793 | 97.82% | 1776 | 5248.8 | 5549.8 | 1726 | 0 | 155 | 1308 | 261 | 16024.6 | 0.50204 | 0.019127 | 0 | 1.0279 | 0.87 | 1.549 | 37.3834 | 123.795

## Tailwinds
Run name | IGEN_Model_3.9_CCC_Scenario2_Step4
Results shown are the average across all simulated hydro years
| Generation by type (GWh) | [9 empty] | Renewable % | Installed capacity (MW) | [8 empty] | Generation emissions (Mt) | [5 empty] | Emission intensity of generation (gCO2/kWh) | Market price ($/MWh)
| Home Solar | Geothermal | Hydro | Wind | Solar (utility) | Coal (HLY 8%) | Diesel | Gas | Cogen | Total | Excl cogen | Geothermal | Hydro | Wind | Solar (utility) | Coal | Diesel | Gas | Cogen | Total | Gas | Diesel | Coal | Geothermal | Cogen | Total (excl cogen) | Total (incl cogen) | Haywards
2021 | 25.8668 | 8109.705 | 23993.2408 | 2939.4445 | 0 | 586.5989 | 0 | 4634.8433 | 1243.811 | 41533.5103 | 87.04% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.8535 | 0 | 0.50441 | 0.80041 | 0.88473 | 3.1583 | 97.344 | 93.5927
2022 | 77.5861 | 8007.0789 | 24265.7408 | 3444.2705 | 0 | 385.1937 | 0.015729 | 4402.763 | 1222.3182 | 41804.9668 | 88.2% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.7544 | 1.193e-05 | 0.33122 | 0.79994 | 0.87035 | 2.8855 | 89.8446 | 88.9749
2023 | 135.9919 | 8018.7435 | 24514.9314 | 3624.6392 | 0 | 275.2088 | 0.027185 | 4282.7808 | 1222.2312 | 42074.554 | 88.84% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.703 | 2.0619e-05 | 0.23665 | 0.79427 | 0.87029 | 2.734 | 85.665 | 87.9034
2024 | 200.2462 | 9297.3069 | 24048.4824 | 3521.3941 | 0 | 97.0556 | 0 | 3360.6928 | 1224.8726 | 41750.0506 | 91.47% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 9011.3 | 1.3188 | 0 | 0.083457 | 0.91674 | 0.87213 | 2.319 | 76.4361 | 73.0248
2025 | 273.9625 | 9265.4712 | 24262.9086 | 3508.3351 | 0 | 116.7477 | 0.057992 | 1841.0849 | 1221.7193 | 40490.2873 | 95.01% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.74144 | 4.3984e-05 | 0.10039 | 0.91274 | 0.86991 | 1.7546 | 64.8199 | 72.4873
2026 | 354.9656 | 9265.1307 | 23907.9157 | 3389.7011 | 0 | 57.7192 | 0.1684 | 1357.288 | 1222.2489 | 39555.1374 | 96.31% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.54088 | 0.00012773 | 0.049632 | 0.91268 | 0.87034 | 1.5033 | 60.0102 | 61.7581
2027 | 442.5585 | 9265.0018 | 23775.1574 | 3383.7153 | 0 | 0 | 0.22788 | 1323.6479 | 1222.1959 | 39412.5047 | 96.53% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.52933 | 0.00017283 | 0 | 0.91266 | 0.87027 | 1.4422 | 58.6739 | 62.755
2028 | 538.6615 | 9290.3219 | 24051.6468 | 3515.5524 | 0 | 0 | 0.17433 | 1679.9597 | 1225.8331 | 40302.1497 | 95.7% | 1144 | 5153.3 | 760 | 0 | 0 | 155 | 843 | 261 | 8316.3 | 0.67531 | 0.00013222 | 0 | 0.91515 | 0.87289 | 1.5906 | 61.1266 | 73.2583
2029 | 634.4601 | 9266.1903 | 23934.0253 | 4324.8862 | 42.6756 | 0 | 0.31407 | 1675.0702 | 1221.9783 | 41099.6 | 95.8% | 1144 | 5153.3 | 920 | 200 | 0 | 155 | 843 | 261 | 8676.3 | 0.67518 | 0.0002382 | 0 | 0.91305 | 0.87006 | 1.5885 | 59.82 | 75.5774
2030 | 736.3716 | 9271.2525 | 23897.3407 | 5088.0155 | 367.7049 | 0 | 0.38268 | 1509.763 | 1221.4255 | 42092.2564 | 96.31% | 1144 | 5153.3 | 1192 | 200 | 0 | 155 | 843 | 261 | 8948.3 | 0.60646 | 0.00029025 | 0 | 0.91417 | 0.86966 | 1.5209 | 56.7947 | 76.8481
2031 | 843.4165 | 9265.3824 | 23856.6542 | 6121.195 | 577.0292 | 0 | 0.3612 | 1420.5827 | 1221.7179 | 43306.3391 | 96.62% | 1144 | 5153.3 | 1522 | 400 | 0 | 155 | 843 | 261 | 9478.3 | 0.57088 | 0.00027395 | 0 | 0.91273 | 0.86991 | 1.4839 | 54.3528 | 76.3392
2032 | 961.0134 | 9290.0901 | 23893.6962 | 7262.7592 | 742.7687 | 0 | 1.6649 | 1348.1159 | 1225.6474 | 44725.7558 | 96.9% | 1144 | 5153.3 | 1802.5 | 400 | 0 | 155 | 843 | 261 | 9758.8 | 0.54246 | 0.0012628 | 0 | 0.91501 | 0.87275 | 1.4587 | 52.1287 | 75.7621
2033 | 1068.2695 | 9264.8378 | 23876.3929 | 8177.6691 | 884.25 | 0 | 0.44874 | 1469.6573 | 1222.318 | 45963.8433 | 96.71% | 1144 | 5153.3 | 2135.8 | 500 | 0 | 155 | 1043 | 261 | 10392.1 | 0.59301 | 0.00034035 | 0 | 0.91271 | 0.87035 | 1.5061 | 51.7023 | 78.1818
2034 | 1181.6808 | 9264.694 | 23755.8537 | 9298.7234 | 1142.8736 | 0 | 1.6714 | 1419.7121 | 1222.2312 | 47287.4402 | 96.91% | 1144 | 5153.3 | 2365.8 | 800 | 0 | 155 | 1043 | 261 | 10922.1 | 0.57399 | 0.0012676 | 0 | 0.91275 | 0.87029 | 1.488 | 49.8712 | 77.8283
2035 | 1298.4393 | 9259.1196 | 23759.7697 | 9774.7083 | 1654.8092 | 0 | 9.1479 | 1652.9178 | 1221.9546 | 48630.8663 | 96.49% | 1144 | 5153.3 | 2642.8 | 950 | 0 | 155 | 1163 | 261 | 11469.1 | 0.67542 | 0.0069382 | 0 | 0.91247 | 0.87004 | 1.5948 | 50.6773 | 86.9003
2036 | 1423.8301 | 9293.2301 | 23698.3066 | 11049.0319 | 1884.1024 | 0 | 1.154 | 1527.8109 | 1225.2038 | 50102.6698 | 96.87% | 1144 | 5153.3 | 2911.8 | 1100 | 0 | 155 | 1163 | 261 | 11888.1 | 0.62306 | 0.00087523 | 0 | 0.91612 | 0.87241 | 1.5401 | 48.1508 | 83.2087
2037 | 1535.6176 | 9254.5434 | 23512.8441 | 12379.7728 | 2395.2785 | 0 | 6.349 | 943.4104 | 1222.256 | 51250.0718 | 98.1% | 1144 | 5153.3 | 3311.8 | 1400 | 0 | 155 | 1038 | 261 | 12463.1 | 0.38853 | 0.0048154 | 0 | 0.91146 | 0.87035 | 1.3048 | 42.4393 | 96.6766
2038 | 1655.7191 | 9404.4756 | 23332.755 | 13351.02 | 2624.6056 | 0 | 5.3102 | 906.4252 | 1222.1531 | 52502.4637 | 98.22% | 1204 | 5153.3 | 3771.8 | 1500 | 0 | 155 | 1038 | 261 | 13083.1 | 0.37621 | 0.0040275 | 0 | 0.91536 | 0.87025 | 1.2956 | 41.2538 | 90.2422
2039 | 1775.86 | 9723.0879 | 23126.2448 | 14080.2421 | 2720.722 | 0 | 3.5871 | 1038.7662 | 1222.3182 | 53690.8282 | 98.01% | 1204 | 5153.3 | 3771.8 | 1500 | 0 | 155 | 1158 | 261 | 13203.1 | 0.40151 | 0.0027206 | 0 | 0.92539 | 0.87035 | 1.3296 | 40.9782 | 74.6407
2040 | 1906.5711 | 10608.1937 | 23395.7311 | 14906.7382 | 2836.7011 | 0 | 6.4169 | 1125.2103 | 1225.5837 | 56011.146 | 97.93% | 1396 | 5153.3 | 4096.8 | 1700 | 0 | 155 | 1158 | 261 | 13920.1 | 0.46357 | 0.0048669 | 0 | 0.99206 | 0.87266 | 1.4605 | 41.6564 | 97.4449
2041 | 2019.3471 | 11269.0284 | 23088.3212 | 15497.4484 | 3056.223 | 0 | 6.785 | 958.4344 | 1221.4288 | 57117.0162 | 98.27% | 1396 | 5153.3 | 4232.8 | 1700 | 0 | 155 | 1158 | 261 | 14056.1 | 0.39899 | 0.0051461 | 0 | 1.0468 | 0.86966 | 1.451 | 40.631 | 94.4822
2042 | 2142.9657 | 11250.0149 | 23169.0538 | 16476.3857 | 3041.7055 | 0 | 7.6692 | 1097.4012 | 1221.718 | 58406.9141 | 98.07% | 1396 | 5153.3 | 4641.8 | 1700 | 0 | 155 | 1308 | 261 | 14615.1 | 0.44113 | 0.0058167 | 0 | 1.0443 | 0.86991 | 1.4912 | 40.4297 | 101.1123
2043 | 2267.621 | 11364.0364 | 23060.4959 | 17364.844 | 3024.4986 | 0 | 7.3 | 1211.0487 | 1222.168 | 59522.0125 | 97.91% | 1446 | 5153.3 | 4961.8 | 1700 | 0 | 155 | 1308 | 261 | 14985.1 | 0.453 | 0.0055367 | 0 | 1.042 | 0.87027 | 1.5005 | 39.8329 | 103.7051
2044 | 2405.0023 | 11635.2145 | 23145.0225 | 18288.1846 | 3037.783 | 0 | 10.2793 | 1235.244 | 1225.7862 | 60982.5163 | 97.92% | 1446 | 5153.3 | 5161.8 | 1726 | 0 | 155 | 1308 | 261 | 15211.1 | 0.46013 | 0.0077964 | 0 | 1.042 | 0.87285 | 1.5099 | 39.0712 | 106.3496
2045 | 2518.1643 | 12740.7527 | 22885.7183 | 18597.7684 | 3031.4609 | 0 | 10.9773 | 1151.3973 | 1222.1731 | 62158.4123 | 98.09% | 1646 | 5153.3 | 5189.8 | 1726 | 0 | 155 | 1308 | 261 | 15439.1 | 0.42946 | 0.0083257 | 0 | 1.0352 | 0.87025 | 1.4729 | 37.695 | 104.1164
2046 | 2644.8075 | 13161.0475 | 23088.4847 | 19059.7528 | 3016.4199 | 0 | 12.6729 | 1221.3936 | 1221.9309 | 63426.5098 | 98.02% | 1646 | 5178.3 | 5349.8 | 1726 | 0 | 155 | 1308 | 261 | 15624.1 | 0.45467 | 0.0096117 | 0 | 1.0369 | 0.87002 | 1.5012 | 37.384 | 109.4118
2047 | 2772.5589 | 13758.1783 | 23398.0902 | 19185.3698 | 3000.6483 | 0 | 13.181 | 1216.807 | 1221.4219 | 64566.2554 | 98.06% | 1746 | 5248.8 | 5349.8 | 1726 | 0 | 155 | 1308 | 261 | 15794.6 | 0.45294 | 0.0099971 | 0 | 1.0403 | 0.86966 | 1.5032 | 36.7513 | 110.7673
2048 | 2916.237 | 14479.1309 | 23142.4661 | 19823.6702 | 2996.1296 | 0 | 12.4515 | 1158.1832 | 1225.7038 | 65753.9723 | 98.19% | 1826 | 5248.8 | 5549.8 | 1726 | 0 | 155 | 1308 | 261 | 16074.6 | 0.43057 | 0.0094438 | 0 | 1.1005 | 0.87283 | 1.5405 | 36.7027 | 104.5989
2049 | 3030.32 | 14749.6077 | 23385.1551 | 19874.088 | 2967.9692 | 0 | 14.9019 | 1205.232 | 1222.2687 | 66449.5425 | 98.13% | 1856 | 5273.4 | 5749.8 | 1726 | 0 | 155 | 1308 | 261 | 16329.2 | 0.44705 | 0.011302 | 0 | 1.1284 | 0.87034 | 1.5868 | 36.9717 | 110.5142
2050 | 3159.5782 | 14722.5966 | 23551.8436 | 20222.3878 | 2944.9789 | 0 | 29.5019 | 1403.3844 | 1221.3136 | 67255.5851 | 97.83% | 1956 | 5324.4 | 5749.8 | 1726 | 0 | 155 | 1308 | 261 | 16480.2 | 0.51819 | 0.022376 | 0 | 1.1461 | 0.86965 | 1.6867 | 37.9845 | 128.7373

## Gas step
Run name | IGEN_3.9_CCC_Scen1_S7alt_Sens2 Gas_Step11_AltSolar
Results shown are the average across all simulated hydro years
| Generation by type (GWh) | [9 empty] | Renewable % | Installed capacity (MW) | [8 empty] | Generation emissions (Mt) | [5 empty] | Emission intensity of generation (gCO2/kWh) | Market price ($/MWh)
| Home Solar | Geothermal | Hydro | Wind | Solar (utility) | Coal (HLY 8%) | Diesel | Gas | Cogen | Total | Excl cogen | Geothermal | Hydro | Wind | Solar (utility) | Coal | Diesel | Gas | Cogen | Total | Gas | Diesel | Coal | Geothermal | Cogen | Total (excl cogen) | Total (incl cogen) | Haywards
2021 | 25.8668 | 8109.7051 | 23976.92 | 2940.9137 | 0 | 598.7183 | 0 | 4665.676 | 1243.8111 | 41561.6111 | 86.94% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.8668 | 0 | 0.51483 | 0.80041 | 0.88473 | 3.182 | 97.8487 | 94.0158
2022 | 77.5861 | 8007.0789 | 24263.1571 | 3447.5237 | 0 | 396.7253 | 0.015446 | 4434.7374 | 1222.3182 | 41849.142 | 88.11% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.7679 | 1.1715e-05 | 0.34114 | 0.79994 | 0.87035 | 2.909 | 90.3101 | 89.4468
2023 | 135.9919 | 8018.7435 | 24539.4881 | 3625.0644 | 0 | 281.1026 | 0.04757 | 4302.8056 | 1222.2312 | 42125.4749 | 88.79% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.7115 | 3.608e-05 | 0.24172 | 0.79427 | 0.87029 | 2.7476 | 85.8842 | 88.2631
2024 | 200.2462 | 9297.3057 | 24065.3368 | 3523.0101 | 0 | 96.6296 | 0 | 3358.8411 | 1224.8724 | 41766.2419 | 91.48% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 9011.3 | 1.3179 | 0 | 0.08309 | 0.91674 | 0.87213 | 2.3177 | 76.3754 | 73.0277
2025 | 273.9625 | 9265.4841 | 24308.007 | 3492.3009 | 0 | 102.7495 | 0.053467 | 1753.0941 | 1221.7193 | 40417.371 | 95.27% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.70445 | 4.0552e-05 | 0.088353 | 0.91274 | 0.86991 | 1.7056 | 63.7237 | 70.3548
2026 | 354.9656 | 9265.088 | 23915.0346 | 3336.7798 | 0 | 44.1903 | 0.20726 | 1166.8718 | 1222.2441 | 39305.3815 | 96.82% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.46337 | 0.0001572 | 0.037999 | 0.91268 | 0.87033 | 1.4142 | 58.1241 | 57.0046
2027 | 442.5585 | 9264.829 | 23684.6119 | 3279.2515 | 0 | 0 | 0.18117 | 1011.406 | 1222.1892 | 38905.0273 | 97.32% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.40267 | 0.0001374 | 0 | 0.91263 | 0.87026 | 1.3154 | 56.1818 | 53.6954
2028 | 538.6615 | 9290.225 | 23762.4762 | 3352.6843 | 0 | 0 | 0.36445 | 1219.3174 | 1225.8274 | 39389.5561 | 96.8% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.48589 | 0.00027642 | 0 | 0.91513 | 0.87288 | 1.4013 | 57.7368 | 60.8262
2029 | 634.4601 | 9266.1682 | 23880.1389 | 3420.9723 | 0 | 0 | 0.47121 | 1303.9991 | 1221.9782 | 39728.1882 | 96.61% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.51958 | 0.00035739 | 0 | 0.91304 | 0.87006 | 1.433 | 57.9711 | 83.7427
2030 | 736.3716 | 9271.248 | 24025.7528 | 3513.6443 | 0 | 0 | 1.1564 | 1490.988 | 1221.4269 | 40260.5879 | 96.18% | 1144 | 5153.3 | 760 | 0 | 0 | 155 | 843 | 261 | 8316.3 | 0.59539 | 0.0008771 | 0 | 0.91417 | 0.86966 | 1.5104 | 59.1184 | 96.1802
2031 | 843.4165 | 9265.3937 | 23909.3755 | 4078.3041 | 203.2944 | 0 | 0.56452 | 1372.9901 | 1221.7137 | 40895.0524 | 96.54% | 1144 | 5153.3 | 820 | 200 | 0 | 155 | 843 | 261 | 8576.3 | 0.54764 | 0.00042816 | 0 | 0.91273 | 0.86991 | 1.4608 | 56.9933 | 93.4162
2032 | 961.0134 | 9290.1036 | 23897.2429 | 4664.2833 | 368.1367 | 0 | 0.7155 | 1248.8918 | 1225.6492 | 41656.0364 | 96.91% | 1144 | 5153.3 | 1020 | 200 | 0 | 155 | 843 | 261 | 8776.3 | 0.49807 | 0.00054267 | 0 | 0.91501 | 0.87276 | 1.4136 | 54.8881 | 89.8844
2033 | 1068.2695 | 9265.0436 | 23857.0621 | 5028.4462 | 623.55 | 0 | 0.83665 | 1240.3765 | 1222.3165 | 42305.9011 | 96.98% | 1144 | 5153.3 | 1192 | 400 | 0 | 155 | 843 | 261 | 9148.3 | 0.49435 | 0.00063456 | 0 | 0.91273 | 0.87035 | 1.4077 | 53.8483 | 91.2987
2034 | 1181.6808 | 9265.1063 | 23783.2806 | 5913.0171 | 739.9209 | 0 | 1.3333 | 1133.3658 | 1222.2304 | 43239.9353 | 97.3% | 1144 | 5153.3 | 1452 | 400 | 0 | 155 | 843 | 261 | 9408.3 | 0.45127 | 0.0010113 | 0 | 0.91279 | 0.87029 | 1.3651 | 51.697 | 87.5736
2035 | 1298.4393 | 9264.0424 | 23617.7084 | 6813.5765 | 882.8226 | 0 | 10.6692 | 1178.8705 | 1221.9494 | 44288.0783 | 97.24% | 1144 | 5153.3 | 1652 | 500 | 0 | 155 | 843 | 261 | 9708.3 | 0.47268 | 0.0080921 | 0 | 0.91294 | 0.87003 | 1.3937 | 51.107 | 91.4487
2036 | 1423.8301 | 9295.8355 | 23679.5569 | 7541.6198 | 1227.2961 | 0 | 1.8671 | 1169.0482 | 1225.1918 | 45564.2455 | 97.36% | 1144 | 5153.3 | 1873.8 | 800 | 0 | 155 | 843 | 261 | 10230.1 | 0.46814 | 0.0014161 | 0 | 0.91645 | 0.8724 | 1.386 | 49.5655 | 93.2758
2037 | 1535.6176 | 9263.1637 | 23330.9212 | 9032.1576 | 1742.1351 | 0 | 6.5131 | 538.8556 | 1222.2517 | 46671.6156 | 98.8% | 1144 | 5153.3 | 2465.8 | 950 | 0 | 155 | 648 | 261 | 10777.1 | 0.2536 | 0.0049399 | 0 | 0.91248 | 0.87034 | 1.171 | 43.7375 | 101.9809
2038 | 1655.7191 | 9260.852 | 23262.2376 | 10242.932 | 1877.9745 | 0 | 7.7356 | 517.662 | 1222.1511 | 48047.2641 | 98.88% | 1144 | 5153.3 | 2742.8 | 1100 | 0 | 155 | 648 | 261 | 11204.1 | 0.24308 | 0.0058671 | 0 | 0.91225 | 0.87025 | 1.1612 | 42.2823 | 99.147
2039 | 1775.86 | 9254.3973 | 23271.0165 | 11161.4581 | 2131.5926 | 0 | 6.8367 | 653.6222 | 1222.3134 | 49477.0967 | 98.63% | 1144 | 5153.3 | 3067.8 | 1200 | 0 | 155 | 768 | 261 | 11749.1 | 0.30412 | 0.0051853 | 0 | 0.91147 | 0.87035 | 1.2208 | 42.2668 | 95.3932
2040 | 1906.5711 | 9674.3183 | 23216.3013 | 12046.5948 | 2291.3186 | 0 | 8.5006 | 623.449 | 1225.5851 | 50992.6388 | 98.73% | 1204 | 5153.3 | 3311.8 | 1300 | 0 | 155 | 768 | 261 | 12153.1 | 0.29278 | 0.0064473 | 0 | 0.92579 | 0.87266 | 1.225 | 41.1389 | 102.8993
2041 | 2019.3471 | 9726.6956 | 23246.8231 | 12945.2537 | 2490.7673 | 0 | 7.301 | 703.0989 | 1221.4289 | 52360.7155 | 98.61% | 1204 | 5153.3 | 3571.8 | 1500 | 0 | 155 | 918 | 261 | 12763.1 | 0.28791 | 0.0055374 | 0 | 0.92658 | 0.86966 | 1.22 | 39.9113 | 106.5156
2042 | 2142.9657 | 10064.3152 | 23033.3199 | 14020.8763 | 2710.2431 | 0 | 8.373 | 676.5813 | 1221.7193 | 53878.3939 | 98.7% | 1316 | 5153.3 | 3771.8 | 1500 | 0 | 155 | 1038 | 261 | 13195.1 | 0.27683 | 0.0063505 | 0 | 0.9467 | 0.86991 | 1.2299 | 38.9773 | 104.4539
2043 | 2267.621 | 11099.4905 | 23154.4125 | 14215.425 | 2694.8872 | 0 | 6.3833 | 746.289 | 1222.1763 | 55406.6848 | 98.61% | 1396 | 5153.3 | 3971.8 | 1500 | 0 | 155 | 1158 | 261 | 13595.1 | 0.30931 | 0.0048414 | 0 | 1.03 | 0.87027 | 1.3441 | 39.9711 | 109.355
2044 | 2405.0023 | 11291.9486 | 23222.4776 | 15076.1307 | 2878.2371 | 0 | 5.8516 | 810.6706 | 1225.8026 | 56916.1211 | 98.53% | 1396 | 5153.3 | 4232.8 | 1700 | 0 | 155 | 1158 | 261 | 14056.1 | 0.33814 | 0.0044381 | 0 | 1.0482 | 0.87286 | 1.3908 | 39.7758 | 109.6587
2045 | 2518.1643 | 11212.2614 | 22868.4052 | 16550.5225 | 3028.7825 | 0 | 7.8396 | 803.0642 | 1222.2253 | 58211.2649 | 98.58% | 1396 | 5153.3 | 4641.8 | 1700 | 0 | 155 | 1158 | 261 | 14465.1 | 0.33318 | 0.0059459 | 0 | 1.0407 | 0.87029 | 1.3798 | 38.6567 | 106.0729
2046 | 2644.8075 | 11541.6951 | 22937.3742 | 17512.9988 | 3013.6369 | 0 | 11.3714 | 902.327 | 1221.9341 | 59786.1449 | 98.44% | 1446 | 5153.3 | 4961.8 | 1700 | 0 | 155 | 1158 | 261 | 14835.1 | 0.37397 | 0.0086246 | 0 | 1.0395 | 0.87002 | 1.4221 | 38.342 | 115.8998
2047 | 2772.5589 | 11603.466 | 22896.5158 | 18709.6919 | 2997.9701 | 0 | 9.8404 | 1033.504 | 1221.4062 | 61244.9531 | 98.26% | 1446 | 5153.3 | 5321.8 | 1700 | 0 | 155 | 1308 | 261 | 15345.1 | 0.38471 | 0.0074634 | 0 | 1.0397 | 0.86965 | 1.4318 | 37.5831 | 117.7634
2048 | 2916.237 | 12072.3206 | 22888.0848 | 19371.7883 | 3005.9178 | 0 | 11.08 | 1150.485 | 1225.7083 | 62641.6218 | 98.11% | 1546 | 5153.3 | 5521.8 | 1726 | 0 | 155 | 1308 | 261 | 15671.1 | 0.42688 | 0.0084036 | 0 | 1.0401 | 0.87283 | 1.4753 | 37.4883 | 124.7769
2049 | 3030.32 | 12622.8788 | 22843.6227 | 19762.7014 | 3005.2804 | 0 | 13.362 | 1111.1588 | 1222.2395 | 63611.5637 | 98.2% | 1646 | 5248.8 | 5549.8 | 1726 | 0 | 155 | 1308 | 261 | 15894.6 | 0.41052 | 0.010134 | 0 | 1.0364 | 0.87032 | 1.457 | 36.5845 | 122.5368
2050 | 3159.5782 | 13236.6458 | 23216.0482 | 19553.9916 | 2978.9075 | 0 | 26.1037 | 1263.2957 | 1221.781 | 64656.3517 | 97.97% | 1776 | 5248.8 | 5549.8 | 1726 | 0 | 155 | 1308 | 261 | 16024.6 | 0.46633 | 0.019798 | 0 | 1.0306 | 0.86998 | 1.5168 | 36.9 | 138.9788

## Low carbon
Run name | IGEN_3.9_CCC_Scen1_S7alt_Sens1 Carbon_Step11_AltSolar
Results shown are the average across all simulated hydro years
| Generation by type (GWh) | [9 empty] | Renewable % | Installed capacity (MW) | [8 empty] | Generation emissions (Mt) | [5 empty] | Emission intensity of generation (gCO2/kWh) | Market price ($/MWh)
| Home Solar | Geothermal | Hydro | Wind | Solar (utility) | Coal (HLY 8%) | Diesel | Gas | Cogen | Total | Excl cogen | Geothermal | Hydro | Wind | Solar (utility) | Coal | Diesel | Gas | Cogen | Total | Gas | Diesel | Coal | Geothermal | Cogen | Total (excl cogen) | Total (incl cogen) | Haywards
2021 | 25.8668 | 8109.7051 | 23984.7582 | 2940.1125 | 0 | 597.9902 | 0 | 4660.3282 | 1243.8111 | 41562.5723 | 86.96% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.8653 | 0 | 0.5142 | 0.80041 | 0.88473 | 3.18 | 97.797 | 92.767
2022 | 77.5861 | 8007.0789 | 24249.0281 | 3448.4577 | 0 | 430.7785 | 0.015446 | 4412.0929 | 1222.3182 | 41847.3558 | 88.08% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.7589 | 1.1715e-05 | 0.37042 | 0.79994 | 0.87035 | 2.9292 | 90.7976 | 87.0642
2023 | 135.9919 | 8018.7435 | 24544.0253 | 3622.5697 | 0 | 322.4745 | 0.052827 | 4257.1459 | 1222.2312 | 42123.2348 | 88.8% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.6926 | 4.0067e-05 | 0.27729 | 0.79427 | 0.87029 | 2.7642 | 86.2841 | 84.3787
2024 | 200.2462 | 9297.3091 | 24056.9534 | 3519.8793 | 0 | 122.2036 | 0 | 3343.9593 | 1224.8729 | 41765.4238 | 91.45% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 9011.3 | 1.3122 | 0 | 0.10508 | 0.91674 | 0.87213 | 2.334 | 76.767 | 68.93
2025 | 273.9625 | 9265.4818 | 24308.5547 | 3485.9803 | 0 | 127.5387 | 0.05397 | 1733.7337 | 1221.7193 | 40417.0251 | 95.25% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.69671 | 4.0933e-05 | 0.10967 | 0.91274 | 0.86991 | 1.7192 | 64.0603 | 65.6194
2026 | 354.9656 | 9265.0749 | 23915.6585 | 3325.7645 | 0 | 56.782 | 0.20549 | 1163.4926 | 1222.2456 | 39304.1892 | 96.8% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.46195 | 0.00015585 | 0.048826 | 0.91268 | 0.87033 | 1.4236 | 58.3652 | 52.7884
2027 | 442.5585 | 9264.891 | 23702.7488 | 3261.8386 | 0 | 0 | 0.13205 | 1011.7265 | 1222.1945 | 38906.09 | 97.31% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.40286 | 0.00010015 | 0 | 0.91264 | 0.87027 | 1.3156 | 56.1844 | 49.1882
2028 | 538.6615 | 9290.1998 | 23818.9758 | 3329.7713 | 0 | 0 | 0.42183 | 1191.3298 | 1225.8301 | 39395.1901 | 96.88% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.47529 | 0.00031993 | 0 | 0.91513 | 0.87289 | 1.3907 | 57.4606 | 54.4179
2029 | 634.4601 | 9266.1695 | 23820.0974 | 3384.9435 | 0 | 0 | 0.23276 | 1400.4896 | 1221.9776 | 39728.3705 | 96.36% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.56161 | 0.00017653 | 0 | 0.91304 | 0.87006 | 1.4748 | 59.0244 | 61.1812
2030 | 736.3716 | 9271.2579 | 24003.6842 | 3444.8304 | 0 | 0 | 0.21301 | 1591.7826 | 1221.4271 | 40269.5668 | 95.92% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.63915 | 0.00016156 | 0 | 0.91417 | 0.86966 | 1.5535 | 60.1744 | 70.3718
2031 | 843.4165 | 9265.4175 | 23909.7197 | 3978.4348 | 170.0874 | 0 | 0.14208 | 1520.3682 | 1221.7167 | 40909.3029 | 96.17% | 1144 | 5153.3 | 760 | 200 | 0 | 155 | 843 | 261 | 8516.3 | 0.61063 | 0.00010776 | 0 | 0.91273 | 0.86991 | 1.5235 | 58.5056 | 69.8136
2032 | 961.0134 | 9290.1461 | 23964.9026 | 4443.8903 | 368.446 | 0 | 0.20323 | 1430.0505 | 1225.651 | 41684.3031 | 96.46% | 1144 | 5153.3 | 920 | 200 | 0 | 155 | 843 | 261 | 8676.3 | 0.57383 | 0.00015414 | 0 | 0.91501 | 0.87276 | 1.489 | 56.6591 | 68.324
2033 | 1068.2695 | 9265.0532 | 23825.7783 | 4987.6758 | 576.1229 | 0 | 0.34436 | 1371.6911 | 1222.3164 | 42317.2516 | 96.66% | 1144 | 5153.3 | 1092 | 400 | 0 | 155 | 843 | 261 | 9048.3 | 0.55037 | 0.00026118 | 0 | 0.91273 | 0.87035 | 1.4634 | 55.1489 | 67.5237
2034 | 1181.6808 | 9265.1097 | 23817.0191 | 5725.9411 | 740.5459 | 0 | 0.80724 | 1299.9398 | 1222.2304 | 43253.2741 | 96.91% | 1144 | 5153.3 | 1322 | 400 | 0 | 155 | 843 | 261 | 9278.3 | 0.5216 | 0.00061225 | 0 | 0.91279 | 0.87029 | 1.435 | 53.298 | 65.8897
2035 | 1298.4393 | 9264.245 | 23759.125 | 6627.5689 | 736.4639 | 0 | 3.7914 | 1412.6252 | 1221.9497 | 44324.2083 | 96.71% | 1144 | 5153.3 | 1552 | 400 | 0 | 155 | 1043 | 261 | 9708.3 | 0.57093 | 0.0028756 | 0 | 0.91296 | 0.87003 | 1.4868 | 53.1712 | 67.6943
2036 | 1423.8301 | 9752.2292 | 23834.0769 | 7101.5077 | 810.8232 | 0 | 0.10896 | 1473.2411 | 1225.1938 | 45621.011 | 96.68% | 1224 | 5153.3 | 1843.3 | 500 | 0 | 155 | 1043 | 261 | 10179.6 | 0.59474 | 8.2639e-05 | 0 | 0.95981 | 0.8724 | 1.5546 | 53.2007 | 70.3027
2037 | 1535.6176 | 10624.3673 | 23412.3139 | 7771.7326 | 1532.2549 | 0 | 3.1814 | 650.3421 | 1222.2501 | 46752.0599 | 98.56% | 1336 | 5153.3 | 1873.8 | 950 | 0 | 155 | 648 | 261 | 10377.1 | 0.30587 | 0.0024129 | 0 | 1.0221 | 0.87034 | 1.3304 | 47.0715 | 75.7576
2038 | 1655.7191 | 11090.3639 | 23362.1754 | 8447.1321 | 1738.4447 | 0 | 1.6288 | 581.6508 | 1222.1524 | 48099.2672 | 98.76% | 1396 | 5153.3 | 2135.8 | 950 | 0 | 155 | 768 | 261 | 10819.1 | 0.27399 | 0.0012354 | 0 | 1.0445 | 0.87025 | 1.3198 | 45.5357 | 69.2807
2039 | 1775.86 | 11328.1287 | 23375.1382 | 9197.9498 | 1906.4996 | 0 | 2.4972 | 688.4118 | 1222.3166 | 49496.8018 | 98.57% | 1396 | 5153.3 | 2442.8 | 1100 | 0 | 155 | 918 | 261 | 11426.1 | 0.32072 | 0.001894 | 0 | 1.0521 | 0.87035 | 1.3747 | 45.3611 | 69.0671
2040 | 1906.5711 | 11354.6518 | 23320.0418 | 10379.0374 | 2129.9597 | 0 | 1.3922 | 676.3983 | 1225.5851 | 50993.6373 | 98.64% | 1396 | 5153.3 | 2742.8 | 1200 | 0 | 155 | 918 | 261 | 11826.1 | 0.27984 | 0.0010559 | 0 | 1.0546 | 0.87266 | 1.3355 | 43.3072 | 69.5601
2041 | 2019.3471 | 11326.8503 | 23382.4718 | 11188.9684 | 2440.4648 | 0 | 1.2157 | 811.2301 | 1221.4289 | 52391.9771 | 98.41% | 1396 | 5153.3 | 2942.8 | 1500 | 0 | 155 | 1038 | 261 | 12446.1 | 0.34091 | 0.00092207 | 0 | 1.0527 | 0.86966 | 1.3946 | 43.2217 | 74.355
2042 | 2142.9657 | 11301.9949 | 23314.8821 | 12333.8942 | 2717.5391 | 0 | 2.2667 | 869.2421 | 1221.7193 | 53904.5041 | 98.35% | 1396 | 5153.3 | 3467.8 | 1500 | 0 | 155 | 1158 | 261 | 13091.1 | 0.36583 | 0.0017192 | 0 | 1.0494 | 0.86991 | 1.4169 | 42.4307 | 78.1263
2043 | 2267.621 | 11295.0152 | 23264.3726 | 13678.7134 | 2702.1119 | 0 | 3.5579 | 1013.0235 | 1222.1763 | 55446.5919 | 98.13% | 1396 | 5153.3 | 3771.8 | 1500 | 0 | 155 | 1158 | 261 | 13395.1 | 0.42814 | 0.0026985 | 0 | 1.0486 | 0.87027 | 1.4794 | 42.3848 | 81.3507
2044 | 2405.0023 | 11307.9283 | 23341.637 | 14521.2201 | 2976.544 | 0 | 5.3805 | 1164.3701 | 1225.8026 | 56947.8848 | 97.9% | 1396 | 5153.3 | 4232.8 | 1700 | 0 | 155 | 1308 | 261 | 14206.1 | 0.48914 | 0.0040808 | 0 | 1.0497 | 0.87286 | 1.5429 | 42.4264 | 86.7339
2045 | 2518.1643 | 11426.9782 | 23055.1515 | 15825.6093 | 3035.4213 | 0 | 4.5722 | 1151.4547 | 1222.2312 | 58239.5826 | 97.97% | 1446 | 5153.3 | 4357.8 | 1700 | 0 | 155 | 1308 | 261 | 14381.1 | 0.43802 | 0.0034678 | 0 | 1.045 | 0.87029 | 1.4865 | 40.4722 | 82.91
2046 | 2644.8075 | 11726.344 | 23230.8687 | 16578.8075 | 3020.2743 | 0 | 6.84 | 1361.8791 | 1221.9375 | 59791.7586 | 97.66% | 1481 | 5153.3 | 4761.8 | 1700 | 0 | 155 | 1308 | 261 | 14820.1 | 0.5173 | 0.0051878 | 0 | 1.0525 | 0.87003 | 1.575 | 40.8993 | 92.7052
2047 | 2772.5589 | 12446.5227 | 23044.5895 | 17406.5409 | 3004.5876 | 0 | 7.9161 | 1319.2524 | 1221.4257 | 61223.3938 | 97.79% | 1626 | 5153.3 | 4761.8 | 1700 | 0 | 155 | 1308 | 261 | 14965.1 | 0.50071 | 0.006004 | 0 | 1.1136 | 0.86966 | 1.6203 | 40.6769 | 91.0084
2048 | 2916.237 | 13091.8523 | 23128.1989 | 17968.715 | 3000.382 | 0 | 7.5451 | 1323.7258 | 1225.7095 | 62662.3655 | 97.83% | 1626 | 5153.3 | 4961.8 | 1700 | 0 | 155 | 1308 | 261 | 15165.1 | 0.50208 | 0.0057226 | 0 | 1.118 | 0.87283 | 1.6258 | 39.8803 | 92.0462
2049 | 3030.32 | 13172.9671 | 23202.9517 | 18661.6634 | 2972.2616 | 0 | 10.7333 | 1433.8502 | 1222.2745 | 63707.0219 | 97.69% | 1656 | 5178.3 | 5321.8 | 1700 | 0 | 155 | 1308 | 261 | 15580.1 | 0.54157 | 0.0081407 | 0 | 1.1257 | 0.87034 | 1.6754 | 39.9599 | 97.4261
2050 | 3159.5782 | 13103.5397 | 23434.9708 | 19152.2351 | 2951.6382 | 0 | 25.1237 | 1706.9388 | 1221.8985 | 64755.923 | 97.27% | 1656 | 5248.8 | 5549.8 | 1700 | 0 | 155 | 1308 | 261 | 15878.6 | 0.63939 | 0.019055 | 0 | 1.1201 | 0.87006 | 1.7786 | 40.8904 | 114.9142

## Pumped storage
Run name | IGEN_Model_3.9_CCC_Scenario1_Step12_PumpedStorage_S5_4xGas_HVDCUpgrade
Results shown are the average across all simulated hydro years
| Generation by type (GWh) | [9 empty] | Renewable % | Installed capacity (MW) | [8 empty] | Generation emissions (Mt) | [5 empty] | Emission intensity of generation (gCO2/kWh) | Market price ($/MWh)
| Home Solar | Geothermal | Hydro | Wind | Solar (utility) | Coal (HLY 8%) | Diesel | Gas | Cogen | Total | Excl cogen | Geothermal | Hydro | Wind | Solar (utility) | Coal | Diesel | Gas | Cogen | Total | Gas | Diesel | Coal | Geothermal | Cogen | Total (excl cogen) | Total (incl cogen) | Haywards
2021 | 25.8668 | 8109.7051 | 24023.6872 | 2944.0717 | 0 | 584.1115 | 0 | 4629.4262 | 1243.8111 | 41560.6797 | 87.07% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.8503 | 0 | 0.50227 | 0.80041 | 0.88473 | 3.153 | 97.1527 | 93.6554
2022 | 77.5861 | 8007.0789 | 24279.6923 | 3453.4595 | 0 | 386.3523 | 0.015465 | 4417.7205 | 1222.3182 | 41844.2232 | 88.17% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.7596 | 1.1729e-05 | 0.33222 | 0.79994 | 0.87035 | 2.8918 | 89.9094 | 89.3528
2023 | 135.9919 | 8018.7435 | 24522.3323 | 3631.6462 | 0 | 275.9694 | 0.0018827 | 4314.5332 | 1222.2312 | 42121.4496 | 88.78% | 994 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 8861.3 | 1.7153 | 1.4279e-06 | 0.2373 | 0.79427 | 0.87029 | 2.7469 | 85.8758 | 88.4979
2024 | 200.2462 | 9297.3108 | 24065.9731 | 3533.283 | 0 | 92.2841 | 0 | 3348.6796 | 1224.8732 | 41762.65 | 91.51% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 1223 | 261 | 9011.3 | 1.313 | 0 | 0.079354 | 0.91674 | 0.87213 | 2.3091 | 76.1745 | 72.9166
2025 | 273.9625 | 9265.465 | 24333.8752 | 3497.1295 | 0 | 98.0576 | 0.044931 | 1726.3935 | 1221.7173 | 40416.6456 | 95.35% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.69279 | 3.4078e-05 | 0.084318 | 0.91274 | 0.86991 | 1.6899 | 63.3362 | 69.7638
2026 | 354.9656 | 9265.1014 | 23971.0626 | 3338.2354 | 0 | 41.5246 | 0.27458 | 1118.2656 | 1222.2498 | 39311.6795 | 96.95% | 1144 | 5153.3 | 590 | 0 | 485 | 155 | 843 | 261 | 8631.3 | 0.44356 | 0.00020825 | 0.035706 | 0.91268 | 0.87034 | 1.3922 | 57.5538 | 55.8156
2027 | 442.5585 | 9264.8963 | 23696.6583 | 3270.0932 | 0 | 0 | 0.25797 | 1006.7393 | 1222.1908 | 38903.3943 | 97.33% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.4005 | 0.00019566 | 0 | 0.91264 | 0.87026 | 1.3133 | 56.1299 | 53.0423
2028 | 538.6615 | 9290.2407 | 23837.8547 | 3344.7536 | 0 | 0 | 0.40021 | 1159.2385 | 1225.83 | 39396.9792 | 96.96% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.46172 | 0.00030354 | 0 | 0.91513 | 0.87289 | 1.3772 | 57.1132 | 58.9406
2029 | 634.4601 | 9266.1652 | 23813.8996 | 3410.0049 | 0 | 0 | 0.30403 | 1378.5907 | 1221.9778 | 39725.4023 | 96.42% | 1144 | 5153.3 | 590 | 0 | 0 | 155 | 843 | 261 | 8146.3 | 0.55207 | 0.00023059 | 0 | 0.91304 | 0.87006 | 1.4653 | 58.79 | 67.5522
2030 | 736.3716 | 9271.2339 | 23974.2274 | 3483.8396 | 0 | 0 | 0.27324 | 1571.8098 | 1221.4262 | 40259.1816 | 95.97% | 1144 | 5153.3 | 760 | 0 | 0 | 155 | 843 | 261 | 8316.3 | 0.6307 | 0.00020724 | 0 | 0.91417 | 0.86966 | 1.5451 | 59.9808 | 77.3487
2031 | 843.4165 | 9265.3709 | 23775.0671 | 4106.6881 | 249.5926 | 0 | 0.095696 | 1428.1254 | 1221.7142 | 40890.0705 | 96.4% | 1144 | 5153.3 | 820 | 200 | 0 | 155 | 843 | 261 | 8576.3 | 0.57072 | 7.258e-05 | 0 | 0.91272 | 0.86991 | 1.4835 | 57.556 | 78.5186
2032 | 961.0134 | 9290.2548 | 24860.5919 | 4960.849 | 367.8274 | 0 | 0.17562 | 1282.9278 | 1225.6521 | 42949.292 | 96.92% | 1144 | 5153.3 | 1020 | 200 | 0 | 155 | 843 | 261 | 8776.3 | 0.50521 | 0.0001332 | 0 | 0.91503 | 0.87276 | 1.4204 | 55.0212 | 85.6694
2033 | 1068.2695 | 9265.1542 | 24592.2378 | 5459.8927 | 575.5062 | 0 | 0.41541 | 927.5394 | 1222.3182 | 43111.3334 | 97.78% | 1144 | 5153.3 | 1150 | 400 | 0 | 155 | 843 | 261 | 9106.3 | 0.36403 | 0.00031507 | 0 | 0.91274 | 0.87035 | 1.2771 | 50.6131 | 74.6026
2034 | 1181.6808 | 9265.1918 | 24551.5897 | 6315.0167 | 816.1023 | 0 | 0.88249 | 777.4661 | 1222.2312 | 44130.1611 | 98.19% | 1144 | 5153.3 | 1422 | 500 | 0 | 155 | 843 | 261 | 9478.3 | 0.30448 | 0.00066932 | 0 | 0.91281 | 0.87029 | 1.2179 | 48.1712 | 70.9237
2035 | 1298.4393 | 9264.3778 | 24466.8012 | 7244.8045 | 924.3895 | 0 | 6.1304 | 876.1031 | 1221.9532 | 45302.999 | 98% | 1144 | 5153.3 | 1652 | 500 | 0 | 155 | 843 | 261 | 9708.3 | 0.34474 | 0.0046496 | 0 | 0.91298 | 0.87004 | 1.2624 | 48.0458 | 74.9957
2036 | 1423.8301 | 9296.3012 | 24440.2158 | 8199.6773 | 1048.2921 | 0 | 0.82008 | 962.8957 | 1225.203 | 46597.2353 | 97.88% | 1144 | 5153.3 | 1873.8 | 950 | 0 | 155 | 1043 | 261 | 10580.1 | 0.37587 | 0.00062199 | 0 | 0.91651 | 0.87241 | 1.293 | 47.426 | 80.3513
2037 | 1535.6176 | 9264.9898 | 24291.7882 | 9320.7645 | 1742.8304 | 0 | 1.3849 | 165.848 | 1222.2539 | 47545.4773 | 99.64% | 1144 | 5153.3 | 2365.8 | 950 | 0 | 155 | 648 | 261 | 10677.1 | 0.077742 | 0.0010504 | 0 | 0.91268 | 0.87034 | 0.99147 | 39.7287 | 90.5758
2038 | 1655.7191 | 9263.478 | 24076.2788 | 10661.576 | 2040.9543 | 0 | 5.0483 | 70.5786 | 1222.153 | 48995.7862 | 99.84% | 1144 | 5153.3 | 2642.8 | 1200 | 0 | 155 | 768 | 261 | 11324.1 | 0.033054 | 0.0038289 | 0 | 0.91253 | 0.87025 | 0.94941 | 37.743 | 88.4463
2039 | 1775.86 | 9258.6267 | 24003.3258 | 11638.253 | 2172.904 | 0 | 5.1817 | 80.7658 | 1222.3176 | 50157.2345 | 99.82% | 1144 | 5153.3 | 3067.8 | 1200 | 0 | 155 | 918 | 261 | 11899.1 | 0.037385 | 0.0039301 | 0 | 0.91208 | 0.87035 | 0.9534 | 36.7061 | 86.1426
2040 | 1906.5711 | 9556.915 | 24070.6972 | 12460.9451 | 2327.0146 | 0 | 7.4714 | 93.8285 | 1225.5851 | 51649.028 | 99.8% | 1204 | 5153.3 | 3311.8 | 1300 | 0 | 155 | 1038 | 261 | 12423.1 | 0.038426 | 0.0056667 | 0 | 0.92244 | 0.87266 | 0.96653 | 35.899 | 90.8428
2041 | 2019.3471 | 9731.1721 | 24068.2649 | 13529.8759 | 2377.5764 | 0 | 6.0996 | 79.7418 | 1221.4289 | 53033.5067 | 99.83% | 1204 | 5153.3 | 3571.8 | 1500 | 0 | 155 | 1038 | 261 | 12883.1 | 0.033077 | 0.0046263 | 0 | 0.92714 | 0.86966 | 0.96484 | 34.8494 | 91.9694
2042 | 2142.9657 | 9712.5596 | 24034.1882 | 14734.4589 | 2710.0938 | 0 | 8.3737 | 113.658 | 1221.6659 | 54677.964 | 99.77% | 1204 | 5153.3 | 3971.8 | 1500 | 0 | 155 | 1158 | 261 | 13403.1 | 0.047177 | 0.0063511 | 0 | 0.92446 | 0.86987 | 0.97799 | 34.1231 | 94.9981
2043 | 2267.621 | 10352.5895 | 24114.6231 | 15259.4746 | 2694.435 | 0 | 9.9444 | 140.2955 | 1222.0783 | 56061.0615 | 99.73% | 1396 | 5153.3 | 3971.8 | 1500 | 0 | 155 | 1158 | 261 | 13595.1 | 0.05801 | 0.0075424 | 0 | 0.97007 | 0.87019 | 1.0356 | 34.2023 | 100.0526
2044 | 2405.0023 | 11305.5079 | 24111.2823 | 15662.2593 | 2968.6067 | 0 | 10.3283 | 138.9395 | 1225.6301 | 57827.5563 | 99.74% | 1396 | 5153.3 | 4132.8 | 1700 | 0 | 155 | 1158 | 261 | 13956.1 | 0.057033 | 0.0078335 | 0 | 1.0498 | 0.87271 | 1.1146 | 34.7541 | 95.4899
2045 | 2518.1643 | 11255.3978 | 23971.825 | 16897.506 | 3027.8668 | 0 | 15.1583 | 195.8384 | 1222.1648 | 59103.9213 | 99.64% | 1396 | 5153.3 | 4641.8 | 1700 | 0 | 155 | 1308 | 261 | 14615.1 | 0.078031 | 0.011497 | 0 | 1.0454 | 0.87024 | 1.1349 | 34.2641 | 98.0701
2046 | 2644.8075 | 11308.2806 | 24011.7903 | 18039.7768 | 3012.874 | 0 | 20.5709 | 255.8788 | 1221.8486 | 60515.8275 | 99.53% | 1446 | 5153.3 | 4961.8 | 1700 | 0 | 155 | 1308 | 261 | 14985.1 | 0.094092 | 0.015602 | 0 | 1.0439 | 0.86997 | 1.1536 | 33.6523 | 105.96
2047 | 2772.5589 | 11632.5809 | 23956.122 | 19124.8311 | 2997.1323 | 0 | 26.0417 | 311.5284 | 1221.3185 | 62042.114 | 99.44% | 1446 | 5153.3 | 5321.8 | 1700 | 0 | 155 | 1308 | 261 | 15345.1 | 0.11456 | 0.019751 | 0 | 1.0434 | 0.86958 | 1.1777 | 33.2476 | 113.0792
2048 | 2916.237 | 12243.59 | 24048.8274 | 19682.0662 | 3012.4591 | 0 | 24.8595 | 331.5254 | 1225.5814 | 63485.1459 | 99.43% | 1546 | 5178.3 | 5349.8 | 1726 | 0 | 155 | 1308 | 261 | 15524.1 | 0.12176 | 0.018855 | 0 | 1.0443 | 0.87274 | 1.1849 | 32.652 | 118.7937
2049 | 3030.32 | 12486.7845 | 24137.0982 | 20279.0848 | 3004.1154 | 0 | 31.0013 | 395.1641 | 1222.1424 | 64585.7108 | 99.33% | 1646 | 5248.8 | 5549.8 | 1726 | 0 | 155 | 1308 | 261 | 15894.6 | 0.14486 | 0.023513 | 0 | 1.0426 | 0.87025 | 1.211 | 32.5389 | 122.8804
2050 | 3159.5782 | 13170.5151 | 24342.7632 | 20152.0765 | 2971.0422 | 0 | 45.701 | 507.5929 | 1221.7568 | 65571.026 | 99.14% | 1776 | 5248.8 | 5549.8 | 1726 | 0 | 155 | 1308 | 261 | 16024.6 | 0.18492 | 0.034662 | 0 | 1.0344 | 0.86997 | 1.2539 | 32.6215 | 140.107

## Results summary
Summary of key results averaged across all hydro years
| Thermal generation (GWh) | % Renew (excl cogen) | Total emissions (TCO2) | Haywards price ($/MWh) | Thermal generation (GWh) | % Renew (excl cogen) | Total emissions (TCO2) | Haywards price ($/MWh) | Thermal generation (GWh) | % Renew (excl cogen) | Total emissions (TCO2) | Haywards price ($/MWh) | Thermal generation (GWh) | % Renew (excl cogen) | Total emissions (TCO2) | Haywards price ($/MWh) | Thermal generation (GWh) | % Renew (excl cogen) | Total emissions (TCO2) | Haywards price ($/MWh)
| Headwinds | Headwinds | Headwinds | Headwinds | Gas step | Gas step | Gas step | Gas step | Lower carbon | Lower carbon | Lower carbon | Lower carbon | Pumped storage | Pumped storage | Pumped storage | Pumped storage | Tailwinds | Tailwinds | Tailwinds | Tailwinds
2020
2021 | 5253.6361 | 86.97% | 4.0596 | 93.9293 | 5264.3943 | 86.94% | 4.0668 | 94.0158 | 5258.3185 | 86.96% | 4.0647 | 92.767 | 5213.5378 | 87.07% | 4.0377 | 93.6554 | 5221.4421 | 87.04% | 4.043 | 93.5927
2022 | 4830.6996 | 88.11% | 3.7779 | 89.4938 | 4831.4781 | 88.11% | 3.7794 | 89.4468 | 4842.8869 | 88.08% | 3.7996 | 87.0642 | 4804.0883 | 88.17% | 3.7621 | 89.3528 | 4787.9724 | 88.2% | 3.7559 | 88.9749
2023 | 4590.7873 | 88.78% | 3.6219 | 88.3276 | 4583.9557 | 88.79% | 3.6178 | 88.2631 | 4579.6731 | 88.8% | 3.6345 | 84.3787 | 4590.5045 | 88.78% | 3.6171 | 88.4979 | 4558.0168 | 88.84% | 3.6042 | 87.9034
2024 | 3450.2714 | 91.49% | 3.1874 | 72.894 | 3455.4706 | 91.48% | 3.1899 | 73.0277 | 3466.1629 | 91.45% | 3.2061 | 68.93 | 3440.9637 | 91.51% | 3.1812 | 72.9166 | 3457.7483 | 91.47% | 3.1912 | 73.0248
2025 | 1852.9261 | 95.27% | 2.575 | 70.2812 | 1855.8971 | 95.27% | 2.5755 | 70.3548 | 1861.3264 | 95.25% | 2.5891 | 65.6194 | 1824.4961 | 95.35% | 2.5598 | 69.7638 | 1957.8906 | 95.01% | 2.6245 | 72.4873
2026 | 1200.1197 | 96.85% | 2.28 | 56.8089 | 1211.2694 | 96.82% | 2.2845 | 57.0046 | 1220.48 | 96.8% | 2.2939 | 52.7884 | 1160.0647 | 96.95% | 2.2625 | 55.8156 | 1415.1755 | 96.31% | 2.3737 | 61.7581
2027 | 997.9095 | 97.35% | 2.18 | 53.2558 | 1011.5872 | 97.32% | 2.1857 | 53.6954 | 1011.8586 | 97.31% | 2.1859 | 49.1882 | 1006.9972 | 97.33% | 2.1836 | 53.0423 | 1323.8758 | 96.53% | 2.3124 | 62.755
2028 | 1175.2309 | 96.92% | 2.2562 | 59.5312 | 1219.6818 | 96.8% | 2.2742 | 60.8262 | 1191.7516 | 96.88% | 2.2636 | 54.4179 | 1159.6387 | 96.96% | 2.25 | 58.9406 | 1680.1341 | 95.7% | 2.4635 | 73.2583
2029 | 1361.731 | 96.46% | 2.3283 | 67.0492 | 1304.4704 | 96.61% | 2.303 | 83.7427 | 1400.7224 | 96.36% | 2.3449 | 61.1812 | 1378.8947 | 96.42% | 2.3354 | 67.5522 | 1675.3843 | 95.8% | 2.4585 | 75.5774
2030 | 1527.1585 | 96.09% | 2.3957 | 76.4448 | 1492.1444 | 96.18% | 2.3801 | 96.1802 | 1591.9956 | 95.92% | 2.4231 | 70.3718 | 1572.083 | 95.97% | 2.4147 | 77.3487 | 1510.1457 | 96.31% | 2.3906 | 76.8481
2031 | 1396.7482 | 96.48% | 2.3417 | 75.2757 | 1373.5546 | 96.54% | 2.3307 | 93.4162 | 1520.5103 | 96.17% | 2.3934 | 69.8136 | 1428.2211 | 96.4% | 2.3534 | 78.5186 | 1420.9439 | 96.62% | 2.3538 | 76.3392
2032 | 1318.7989 | 96.74% | 2.316 | 74.3911 | 1249.6073 | 96.91% | 2.2864 | 89.8844 | 1430.2537 | 96.46% | 2.3618 | 68.324 | 1283.1035 | 96.92% | 2.2931 | 85.6694 | 1349.7808 | 96.9% | 2.3315 | 75.7621
2033 | 1287.6145 | 96.87% | 2.2985 | 74.9254 | 1241.2132 | 96.98% | 2.2781 | 91.2987 | 1372.0355 | 96.66% | 2.3337 | 67.5237 | 927.9549 | 97.78% | 2.1474 | 74.6026 | 1470.106 | 96.71% | 2.3764 | 78.1818
2034 | 1160.3892 | 97.24% | 2.2468 | 71.5996 | 1134.6991 | 97.3% | 2.2354 | 87.5736 | 1300.747 | 96.91% | 2.3053 | 65.8897 | 778.3486 | 98.19% | 2.0882 | 70.9237 | 1421.3835 | 96.91% | 2.3583 | 77.8283
2035 | 1227.0749 | 97.15% | 2.2794 | 76.3494 | 1189.5397 | 97.24% | 2.2637 | 91.4487 | 1416.4166 | 96.71% | 2.3568 | 67.6943 | 882.2335 | 98% | 2.1324 | 74.9957 | 1662.0656 | 96.49% | 2.4649 | 86.9003
2036 | 1204.2599 | 97.29% | 2.2731 | 76.0214 | 1170.9153 | 97.36% | 2.2584 | 93.2758 | 1473.3501 | 96.68% | 2.427 | 70.3027 | 963.7158 | 97.88% | 2.1654 | 80.3513 | 1528.9648 | 96.87% | 2.4125 | 83.2087
2037 | 644.4959 | 98.58% | 2.0871 | 89.1539 | 545.3687 | 98.8% | 2.0414 | 101.9809 | 653.5235 | 98.56% | 2.2007 | 75.7576 | 167.2329 | 99.64% | 1.8618 | 90.5758 | 949.7594 | 98.1% | 2.1751 | 96.6766
2038 | 501.0243 | 98.93% | 2.0196 | 78.9882 | 525.3977 | 98.88% | 2.0314 | 99.147 | 583.2796 | 98.76% | 2.19 | 69.2807 | 75.6269 | 99.84% | 1.8197 | 88.4463 | 911.7354 | 98.22% | 2.1658 | 90.2422
2039 | 682.1772 | 98.59% | 2.0937 | 75.1039 | 660.4588 | 98.63% | 2.0911 | 95.3932 | 690.909 | 98.57% | 2.245 | 69.0671 | 85.9475 | 99.82% | 1.8238 | 86.1426 | 1042.3532 | 98.01% | 2.2 | 74.6407
2040 | 714.4073 | 98.57% | 2.085 | 84.335 | 631.9496 | 98.73% | 2.0977 | 102.8993 | 677.7905 | 98.64% | 2.2082 | 69.5601 | 101.2999 | 99.8% | 1.8392 | 90.8428 | 1131.6272 | 97.93% | 2.3332 | 97.4449
2041 | 730.7423 | 98.57% | 2.1012 | 86.332 | 710.3999 | 98.61% | 2.0897 | 106.5156 | 812.4458 | 98.41% | 2.2642 | 74.355 | 85.8414 | 99.83% | 1.8345 | 91.9694 | 965.2193 | 98.27% | 2.3206 | 94.4822
2042 | 770.4059 | 98.54% | 2.1167 | 85.4337 | 684.9543 | 98.7% | 2.0998 | 104.4539 | 871.5087 | 98.35% | 2.2868 | 78.1263 | 122.0318 | 99.77% | 1.8479 | 94.9981 | 1105.0704 | 98.07% | 2.3611 | 101.1123
2043 | 885.4557 | 98.37% | 2.2104 | 93.6408 | 752.6723 | 98.61% | 2.2144 | 109.355 | 1016.5814 | 98.13% | 2.3497 | 81.3507 | 150.24 | 99.73% | 1.9058 | 100.0526 | 1218.3487 | 97.91% | 2.3708 | 103.7051
2044 | 782.9583 | 98.59% | 2.2486 | 88.6979 | 816.5222 | 98.53% | 2.2636 | 109.6587 | 1169.7505 | 97.9% | 2.4158 | 86.7339 | 149.2677 | 99.74% | 1.9873 | 95.4899 | 1245.5233 | 97.92% | 2.3827 | 106.3496
2045 | 879.5752 | 98.46% | 2.2679 | 92.0144 | 810.9038 | 98.58% | 2.2501 | 106.0729 | 1156.0269 | 97.97% | 2.3567 | 82.91 | 210.9967 | 99.64% | 2.0051 | 98.0701 | 1162.3746 | 98.09% | 2.3432 | 104.1164
2046 | 1058.3536 | 98.19% | 2.3083 | 100.452 | 913.6984 | 98.44% | 2.2921 | 115.8998 | 1368.719 | 97.66% | 2.445 | 92.7052 | 276.4497 | 99.53% | 2.0236 | 105.96 | 1234.0664 | 98.02% | 2.3712 | 109.4118
2047 | 1100.3373 | 98.17% | 2.3228 | 102.0386 | 1043.3444 | 98.26% | 2.3015 | 117.7634 | 1327.1685 | 97.79% | 2.49 | 91.0084 | 337.5701 | 99.44% | 2.0473 | 113.0792 | 1229.988 | 98.06% | 2.3729 | 110.7673
2048 | 1168.6613 | 98.1% | 2.3523 | 106.2827 | 1161.565 | 98.11% | 2.3482 | 124.7769 | 1331.271 | 97.83% | 2.4986 | 92.0462 | 356.3849 | 99.43% | 2.0576 | 118.7937 | 1170.6346 | 98.19% | 2.4133 | 104.5989
2049 | 1190.3514 | 98.09% | 2.3536 | 107.0371 | 1124.5208 | 98.2% | 2.3273 | 122.5368 | 1444.5835 | 97.69% | 2.5457 | 97.4261 | 426.1654 | 99.33% | 2.0813 | 122.8804 | 1220.1339 | 98.13% | 2.4571 | 110.5142
2050 | 1384.7198 | 97.82% | 2.419 | 123.795 | 1289.3994 | 97.97% | 2.3867 | 138.9788 | 1732.0625 | 97.27% | 2.6486 | 114.9142 | 553.2938 | 99.14% | 2.1239 | 140.107 | 1432.8863 | 97.83% | 2.5563 | 128.7373
Total generation figures
| Headwinds | Tailwinds
2020
2021 | 41562.8657 | 41533.5103
2022 | 41848.4329 | 41804.9668
2023 | 42125.4603 | 42074.554
2024 | 41766.8133 | 41750.0506
2025 | 40417.8496 | 40490.2873
2026 | 39308.0037 | 39555.1374
2027 | 38907.5505 | 39412.5047
2028 | 39396.827 | 40302.1497
2029 | 39731.6607 | 41099.6
2030 | 40273.5776 | 42092.2564
2031 | 40899.859 | 43306.3391
2032 | 41675.7782 | 44725.7558
2033 | 42333.9628 | 45963.8433
2034 | 43246.2319 | 47287.4402
2035 | 44282.1569 | 48630.8663
2036 | 45589.7171 | 50102.6698
2037 | 46703.4482 | 51250.0718
2038 | 48065.1945 | 52502.4637
2039 | 49496.6384 | 53690.8282
2040 | 51021.5123 | 56011.146
2041 | 52411.2239 | 57117.0162
2042 | 53911.6589 | 58406.9141
2043 | 55452.1981 | 59522.0125
2044 | 56930.6836 | 60982.5163
2045 | 58234.015 | 62158.4123
2046 | 59817.222 | 63426.5098
2047 | 61261.6401 | 64566.2554
2048 | 62698.5688 | 65753.9723
2049 | 63634.5217 | 66449.5425
2050 | 64686.9793 | 67255.5851

## Build sequence
Headwinds scenario | [10 empty] | Tailwinds scenario
Date complete | Project | Project type | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | Date complete | Project | Project type | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055
2021-03-01 | Waipipi | 4 | Total | 6 | 0 | 12 | 21 | 17 | 16 | 12 | 2021-03-01 | Waipipi | 4 | Total | 6 | 4 | 17 | 24 | 15 | 12 | 6
2021-06-01 | Turitea_Stage_1 | 4 | Wind | 4 | 0 | 9 | 15 | 8 | 8 | 3 | 2021-06-01 | Turitea_Stage_1 | 4 | Wind | 4 | 3 | 14 | 13 | 8 | 4 | 1
2021-06-01 | Ngawha_Expansion2 | 6 | Solar | 0 | 0 | 3 | 4 | 3 | 1 | 0 | 2021-06-01 | Ngawha_Expansion2 | 6 | Solar | 0 | 1 | 2 | 6 | 2 | 0 | 0
2022-01-01 | Turitea_Stage_2 | 4 | Geothermal | 2 | 0 | 0 | 0 | 3 | 5 | 3 | 2022-01-01 | Turitea_Stage_2 | 4 | Geothermal | 2 | 0 | 0 | 1 | 4 | 5 | 1
2022-08-01 | Mt_Cass_Wind_Farm | 4 | Peaker | 0 | 0 | 0 | 2 | 3 | 1 | 0 | 2022-08-01 | Mt_Cass_Wind_Farm | 4 | Peaker | 0 | 0 | 1 | 4 | 1 | 0 | 0
2024-01-01 | Tauhara_Stage_2 | 6 | Hydro | 0 | 0 | 0 | 0 | 0 | 1 | 6 | 2024-01-01 | Tauhara_Stage_2 | 6 | Hydro | 0 | 0 | 0 | 0 | 0 | 3 | 4
2031-03-01 | Harupaki_Wind | 4 | [8 empty] | 2028-12-01 | Harupaki_Wind | 4
2031-09-01 | Solar_Project_NI_1 | 8 | [8 empty] | 2029-07-01 | Puketoi_Stage_1 | 4
2032-04-01 | Puketoi_Stage_1 | 4 | 2020: Project type key | 2029-08-01 | Pouto_Stage1 | 4
2032-05-01 | Pouto_Stage1 | 4 | 2020: Wind; 2025: 4 | 2029-12-01 | Solar_Project_NI_1 | 8
2033-03-01 | Kaimai_Wind_Farm | 4 | 2020: Solar; 2025: 8 | 2030-06-01 | Omamari_WindFarm | 4
2033-06-01 | Pouto_Stage2 | 4 | 2020: Geothermal; 2025: 6 | 2030-06-01 | Kaimai_Wind_Farm | 4
2033-06-01 | Solar_Project_NI_2 | 8 | 2020: Peaker; 2025: 7 | 2030-09-01 | Pouto_Stage2 | 4
2033-08-01 | Puketoi_Stage_2 | 4 | 2020: Hydro; 2025: 5 | 2030-11-01 | Puketoi_Stage_2 | 4
2034-05-01 | Omamari_WindFarm | 4 | [8 empty] | 2030-12-01 | Solar_Project_NI_2 | 8
2034-07-01 | Pouto_Stage3 | 4 | [8 empty] | 2031-10-01 | Pouto_Stage3 | 4
2034-12-01 | Puketoi_Stage_3 | 4 | [8 empty] | 2032-02-01 | Ahipara_Wind_Farm | 4
2034-12-01 | Solar_Project_NI_5 | 8 | [8 empty] | 2032-03-01 | Puketoi_Stage_3 | 4
2035-02-01 | Ahipara_Wind_Farm | 4 | [8 empty] | 2032-05-01 | Awhitu_Wind_Farm | 4
2035-11-01 | Awhitu_Wind_Farm | 4 | [8 empty] | 2032-06-01 | Long_Gully_Wind_farm | 4
2035-12-01 | Long_Gully_Wind_farm | 4 | [8 empty] | 2032-07-01 | Central_Wind_Moawhango | 4
2036-04-01 | Central_Wind_Moawhango | 4 | [8 empty] | 2033-02-01 | Solar_Project_NI_5 | 8
2036-08-01 | Huntly_Peaker | 7 | [8 empty] | 2033-03-01 | Huntly_Peaker | 7
2036-10-01 | Genesis_Solar | 8 | [8 empty] | 2033-09-01 | Hurunui_Wind | 4
2036-11-01 | Hurunui_Wind | 4 | [8 empty] | 2034-02-01 | Hauauru_ma_raki_Wind_Stage_1 | 4
2036-11-01 | Solar_Project_NI_4 | 8 | [8 empty] | 2034-07-01 | Castle_Hill_Stage_1 | 4
2037-05-01 | Castle_Hill_Stage_1 | 4 | [8 empty] | 2034-12-01 | Taharoa_C | 4
2037-06-01 | Hauauru_ma_raki_Wind_Stage_1 | 4 | [8 empty] | 2035-02-01 | Genesis_Solar | 8
2037-11-01 | Taharoa_C | 4 | [8 empty] | 2035-04-01 | Wainui_Hills_Wind_Farm | 4
2038-05-01 | Otorohanga_Peaker_Stage1 | 7 | [8 empty] | 2035-04-01 | Wind_Project_NI_1 | 4
2038-06-01 | Castle_Hill_Stage_2 | 4 | [8 empty] | 2035-04-01 | Solar_Project_NI_4 | 8
2038-06-01 | Solar_Project_NI_3 | 8 | [8 empty] | 2035-06-01 | Otorohanga_Peaker_Stage1 | 7
2038-07-01 | Wind_Project_NI_1 | 4 | [8 empty] | 2035-08-01 | Castle_Hill_Stage_2 | 4
2038-09-01 | Wainui_Hills_Wind_Farm | 4 | [8 empty] | 2035-11-01 | Waitahora_Wind | 4
2038-11-01 | Waitahora_Wind | 4 | [8 empty] | 2036-05-01 | Wind_Project_NI_8 | 4
2039-04-01 | Solar_Project_SI_2 | 8 | [8 empty] | 2036-09-01 | Castle_Hill_Stage_3 | 4
2039-05-01 | Wind_Project_NI_8 | 4 | [8 empty] | 2036-10-01 | Solar_Project_NI_3 | 8
2039-07-01 | Castle_Hill_Stage_3 | 4 | [8 empty] | 2036-11-01 | Taumatatotara | 4
2039-07-01 | Wind_Project_NI_4 | 4 | [8 empty] | 2037-02-01 | ReservePeaker1 | 7
2040-02-01 | ReservePeaker1 | 7 | [8 empty] | 2037-04-01 | Solar_Project_SI_2 | 8
2040-03-01 | Solar_Project_NI_6 | 8 | [8 empty] | 2037-06-01 | Wind_Project_NI_4 | 4
2040-06-01 | Wairakei_Binary_Plant | 6 | [8 empty] | 2037-09-01 | Wairakei_Binary_Plant | 6
2040-10-01 | Solar_Project_SI_1 | 8 | [8 empty] | 2037-10-01 | Wind_Project_NI_9 | 4
2040-10-01 | Wind_Project_NI_9 | 4 | [8 empty] | 2037-12-01 | Otorohanga_Peaker_Stage2 | 7
2040-12-01 | Otorohanga_Peaker_Stage2 | 7 | [8 empty] | 2038-04-01 | Solar_Project_NI_6 | 8
2041-07-01 | Castle_Hill_Stage_4 | 4 | [8 empty] | 2038-11-01 | Castle_Hill_Stage_4 | 4
2041-10-01 | Mt_Munro | 4 | [8 empty] | 2038-12-01 | Solar_Project_SI_1 | 8
2041-10-01 | Taumatatotara | 4 | [8 empty] | 2039-01-01 | Wind_Project_SI_1 | 4
2042-03-01 | Otorohanga_Peaker_Stage3 | 7 | [8 empty] | 2039-03-01 | Otorohanga_Peaker_Stage3 | 7
2042-10-01 | Wind_Project_SI_1 | 4 | [8 empty] | 2039-04-01 | Wind_Project_NI_2 | 4
2043-06-01 | Solar_Project_SI_3 | 8 | [8 empty] | 2039-09-01 | Mt_Munro | 4
2043-07-01 | Wind_Project_NI_2 | 4 | [8 empty] | 2040-02-01 | Mokai_Expansion | 6
2043-08-01 | Mokai_Expansion | 6 | [8 empty] | 2040-05-01 | Tauhara_Stage_2a | 6
2044-02-01 | Wind_Project_NI_3 | 4 | [8 empty] | 2041-03-01 | Wind_Project_NI_3 | 4
2044-05-01 | Tauhara_Stage_2a | 6 | [8 empty] | 2041-06-01 | Solar_Project_SI_3 | 8
2044-11-01 | Slopedown_Wind_farm | 4 | [8 empty] | 2041-10-01 | Wind_Project_NI_7 | 4
2045-04-01 | Kaiwera_Downs_Stage_1 | 4 | [8 empty] | 2041-12-01 | Kaiwera_Downs_Stage_1 | 4
2045-07-01 | Wind_Project_NI_7 | 4 | [8 empty] | 2042-02-01 | Slopedown_Wind_farm | 4
2045-08-01 | ReservePeaker2 | 7 | [8 empty] | 2042-03-01 | Wind_Project_SI_3 | 4
2045-11-01 | GeoProject_1 | 6 | [8 empty] | 2042-06-01 | ReservePeaker2 | 7
2045-12-01 | Wind_Project_SI_3 | 4 | [8 empty] | 2042-11-01 | Kaiwera_Downs_Stage_2 | 4
2046-04-01 | Wind_Project_NI_5 | 4 | [8 empty] | 2043-02-01 | GeoProject_1 | 6
2046-06-01 | Kaiwera_Downs_Stage_2 | 4 | [8 empty] | 2043-10-01 | Wind_Project_NI_5 | 4
2046-12-01 | RefiningNZ_Solar | 8 | [8 empty] | 2044-02-01 | Kaiwera_Downs_Stage_3 | 4
2047-04-01 | GeoProject_2 | 6 | [8 empty] | 2044-04-01 | GeoProject_2 | 6
2047-07-01 | Wind_Project_NI_6 | 4 | [8 empty] | 2044-06-01 | RefiningNZ_Solar | 8
2047-09-01 | Kaiwera_Downs_Stage_3 | 4 | [8 empty] | 2045-07-01 | Wind_Project_NI_6 | 4
2048-04-01 | GeoProject_3 | 6 | [8 empty] | 2045-10-01 | GeoProject_3 | 6
2048-12-01 | Te_Rere_Hau_Stage_5 | 4 | [8 empty] | 2046-01-01 | Te_Rere_Hau_Stage_5 | 4
2049-07-01 | Rotoma | 6 | [8 empty] | 2046-12-01 | Stockton_Plateau | 5
2049-07-01 | GeoProject_4 | 6 | [8 empty] | 2047-02-01 | Mahinerangi_WindFarm_Stage_2 | 4
2049-10-01 | Stockton_Plateau | 5 | [8 empty] | 2047-10-01 | Wairau_River_Scheme | 5
2050-04-01 | Ngatamariki_Stage2 | 6 | [8 empty] | 2047-10-01 | Rotoma | 6
2050-04-01 | Tikitere | 6 | [8 empty] | 2048-01-01 | Wind_Project_SI_2 | 4
2050-08-01 | Wairau_River_Scheme | 5 | [8 empty] | 2048-01-01 | GeoProject_4 | 6
2050-09-01 | Mahinerangi_WindFarm_Stage_2 | 4 | [8 empty] | 2048-02-01 | Tikitere | 6
2051-08-01 | Waipa_River | 5 | [8 empty] | 2048-03-01 | Ngatamariki_Stage2 | 6
2052-03-01 | Mohaka_River | 5 | [8 empty] | 2049-04-01 | Matiri | 5
2052-07-01 | Matiri | 5 | [8 empty] | 2050-02-01 | Waipa_River | 5
2052-10-01 | Wind_Project_SI_2 | 4 | [8 empty] | 2050-03-01 | Waitaha_River | 5
2053-01-01 | Waitaha_River | 5 | [8 empty] | 2050-05-01 | Mohaka_River | 5
2054-04-01 | Wind_Project_SI_4 | 4 | [8 empty] | 2051-07-01 | Wind_Project_SI_4 | 4
2054-09-01 | Pukaki_Hydro | 5 | [8 empty] | 2052-03-01 | Pukaki_Hydro | 5
2054-10-01 | Kawerau_Stage_2 | 6 | [8 empty] | 2054-12-01 | Kawerau_Stage_2 | 6
2055-10-01 | Hawea_Gates | 5

## Report charts
Regional market prices ($/MWh) |  |  |  |  | Thermal generation (TWh)
| BEN2 | HAY2 | OTA2 | Delta |  | Without pumped storage | Pumped storage
2020 | 91.9162 | 93.5927 | 99.1281 | 7.2119 | 2020 | 0 | 0
2021 | 91.9162 | 93.5927 | 99.1281 | 7.2119 | 2021 | 5.2536 | 5.2135
2022 | 86.7246 | 88.9749 | 95.3308 | 8.6062 | 2022 | 4.8307 | 4.8041
2023 | 86.139 | 87.9034 | 94.7194 | 8.5804 | 2023 | 4.5908 | 4.5905
2024 | 71.3964 | 73.0248 | 78.3123 | 6.9159 | 2024 | 3.4503 | 3.441
2025 | 68.9641 | 72.4873 | 80.4266 | 11.4624 | 2025 | 1.8529 | 1.8245
2026 | 57.352 | 61.7581 | 70.5912 | 13.2392 | 2026 | 1.2001 | 1.1601
2027 | 57.1816 | 62.755 | 72.8373 | 15.6558 | 2027 | 0.99791 | 1.007
2028 | 67.1331 | 73.2583 | 84.705 | 17.5719 | 2028 | 1.1752 | 1.1596
2029 | 69.706 | 75.5774 | 86.6142 | 16.9082 | 2029 | 1.3617 | 1.3789
2030 | 71.5678 | 76.8481 | 86.7179 | 15.1501 | 2030 | 1.5272 | 1.5721
2031 | 71.5259 | 76.3392 | 85.5663 | 14.0404 | 2031 | 1.3967 | 1.4282
2032 | 71.2773 | 75.7621 | 84.4762 | 13.1989 | 2032 | 1.3188 | 1.2831
2033 | 73.8321 | 78.1818 | 86.8106 | 12.9784 | 2033 | 1.2876 | 0.92795
2034 | 73.5121 | 77.8283 | 85.5134 | 12.0013 | 2034 | 1.1604 | 0.77835
2035 | 81.7604 | 86.9003 | 95.4674 | 13.707 | 2035 | 1.2271 | 0.88223
2036 | 79.9389 | 83.2087 | 90.6593 | 10.7204 | 2036 | 1.2043 | 0.96372
2037 | 92.4508 | 96.6766 | 106.7869 | 14.3361 | 2037 | 0.6445 | 0.16723
2038 | 85.6892 | 90.2422 | 100.7432 | 15.054 | 2038 | 0.50102 | 0.075627
2039 | 71.3881 | 74.6407 | 81.8583 | 10.4702 | 2039 | 0.68218 | 0.085947
2040 | 93.477 | 97.4449 | 106.3507 | 12.8737 | 2040 | 0.71441 | 0.1013
2041 | 90.0288 | 94.4822 | 103.5952 | 13.5664 | 2041 | 0.73074 | 0.085841
2042 | 94.8281 | 101.1123 | 112.5106 | 17.6824 | 2042 | 0.77041 | 0.12203
2043 | 96.6229 | 103.7051 | 115.2354 | 18.6126 | 2043 | 0.88546 | 0.15024
2044 | 98.5096 | 106.3496 | 118.0498 | 19.5402 | 2044 | 0.78296 | 0.14927
2045 | 97.5204 | 104.1164 | 113.2209 | 15.7004 | 2045 | 0.87958 | 0.211
2046 | 101.956 | 109.4118 | 120.0831 | 18.1271 | 2046 | 1.0584 | 0.27645
2047 | 102.1718 | 110.7673 | 122.335 | 20.1632 | 2047 | 1.1003 | 0.33757
2048 | 95.2153 | 104.5989 | 116.6824 | 21.4671 | 2048 | 1.1687 | 0.35638
2049 | 100.4873 | 110.5142 | 123.4003 | 22.913 | 2049 | 1.1904 | 0.42617
2050 | 112.5969 | 128.7373 | 145.8476 | 33.2507 | 2050 | 1.3847 | 0.55329
2051 | 55.4684 | 62.979 | 71.9821 | 16.5137